## Introduction
ASHRAE Standard 140-2023, Informative Annex B8, Section B8.3 Example Results for Section 6.2 – Weather Drivers Cases WD100 through WD600
Std140_WD_Annual_Results.xlsx
Example annual average results workbook for Section 6.2 - Weather Drivers Tests Cases WD100-600
This spreadsheet along with the annual and daily results pdf files contains the Standard 140, Informative Annex B8, Section B8.3 example results.
To compare new program outputs to the example results, add new results to the Std140_WD_Output.xlsx spreadsheet (see the "Read Me" tab there) and use the Python script available at data.ashrae.org/Standard140/ to produce the table and charts with both the example results and the new results.
Computer Programs, Program Authors, and Producers of Example Results for Section 6.2 - Weather Drivers Tests Cases WD100-600
The programs used to generate the example results for Sections 6.2 are described in Table B11-3. Under the "Computer Program" column, the first entry in each cell is the proper program name and version number. The entries in parentheses are the abbreviations for the programs used in the tables and charts of the example results.
The second column ("Authoring Organization") indicates the national research facility, university, or industry organization with expertise in building science that wrote the simulation software.
The third column ("Example Results Produced By") indicates the national research facility, university, or industry organization with expertise in building science that performed the simulations. Most of the organizations that performed simulations are members of the development team for the simulation model that they ran.
See Standard 140, Annex B11, Section B11.3 for further details.
TABLE B11-3
Computer Programs, Program Authors, and Producers of Example Results
Computer Program (Abbrev.) | Authoring Organization | Example Results Produced by
Source TMY3 Weather File (Actual) | Provided in the accompanying files
BSIMAC 9, Version 9.0.75 (BSIMAC) | Alec Johannsen Consulting Engineers, South Africa | Alec Johannsen Consulting Engineers, South Africa
California Simulation Engine, Version 0.875.0 (CSE) | J.R. Barnaby/C.S. Barnaby/Big Ladder Software LLC/Wrightsoft Corp., United States | Big Ladder Software LLC, United States
DeST 2.0, Version 190709 (DeST) | Tsinghua University, China | Beijing University of Civil Engineering and Architecture/Southeast University/Tsinghua University, China
EnergyPlus, Version 9.5.0 (EnergyPlus) | U.S. Department of Energy, Building Technologies Office, United States | GARD Analytics, Inc., United States
ESP-r, Version 13.3.9 (ESP-r) | University of Strathclyde, United Kingdom | University of Strathclyde, United Kingdom
IBPSA Project 1, Version v4.0.0dev (IBPSA) | Lawrence Berkeley National Laboratory, United States | Lawrence Berkeley National Laboratory, United States
IDA ICE, Version 4.8 SP2 (IDA ICE) | EQUA Simulation AB, Sweden | EQUA Simulation AB, Sweden
TRNSYS, Version 18.03.0002 (TRNSYS) | Solar Energy Laboratory, University of Wisconsin, United States; Thermal Energy System Specialists, LLC, United States | Thermal Energy System Specialists, LLC, United States

## Annual Average Results
ASHRAE Standard 140-2023, Informative Annex B8, Section B8.3 Example Results for Section 6.2 – Weather Drivers Cases WD100 through WD600
ASHRAE Standard 140-2023
Informative Annex B8
Example Results for Section 6.2 - Weather Drivers Cases WD100-WD600
[12 empty] | ISOTROPIC |  | HAY-DAVIES |  | REINDL
WD100 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | Average | OpenSimula | Error (%) | OpenSimula | Error (%) | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 10.8787 | 10.8787 | 10.8787 | 10.8787 | 10.8765 | 10.876 | 10.8762 | 10.8756 | 10.8756 | 10.877 | 10.8754 | -0.01034 | 10.8754 | -0.01034 | 10.8754 | -0.01034
Annual Average Relative Humidity Values | % | 49.6147 | 49.6147 | 49.582 | 49.5855 | 49.6167 | 49.6179 | 49.6177 | 49.6183 | 49.6182 | 49.6089 | 49.6186 | 0.0037214 | 49.6186 | 0.0037214 | 49.6186 | 0.0037214
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0049371 | 0.0049732 | 0.0049128 | 0.0049253 |  | 0.0049215 | 0.0049661 | 0.0049252 | 0.0049373 | 0.0049254 | 0.0020911 | 0.0049254 | 0.0020911 | 0.0049254 | 0.0020911
Annual Average Dew Point Temperature Values | C | -1.064 | -1.064 | -1.064 | -1.0633 | -1.0655 |  | -1.0656 | -0.8632 | -1.066 | -1.0359 | -1.0262 | -3.6801 | -1.0262 | -3.6801 | -1.0262 | -3.6801
Annual Average Wet Bulb Temperature Values | C |  | 4.9213 | 4.9046 | 4.905 | 4.8883 | 5.4504 | 4.9085 | 4.9541 | 4.925 | 4.9822 | 4.8856 | -0.05528 | 4.8856 | -0.05528 | 4.8856 | -0.05528
Annual Average Wind Speed Values | m/s | 3.917 | 3.917 | 3.9266 | 3.917 | 3.917 | 3.916 | 3.9175 | 3.7677 | 3.9166 | 3.8994 | 3.9165 | -0.010808 | 3.9165 | -0.010808 | 3.9165 | -0.010808
Annual Average Wind Direction Values | Degrees from North | 179.2556 | 179.2556 | 179.2556 | 157.649 | 174.3587 | 179.2384 | 179.265 | 178.7877 | 179.2368 | 175.8809 | 179.2352 | 2.7968 | 179.2352 | 2.7968 | 179.2352 | 2.7968
Annual Average Station Pressure Values | mbar | 834.6008 | 834.6008 | 830.11 | 834.6008 | 834.6003 | 834.6096 | 834.601 | 835.94 | 834.6012 | 834.2079 | 834.6012 | 0.00011147 | 834.6012 | 0.00011147 | 834.6012 | 0.00011147
Annual Average Total Cloud Cover Values | tenths | 5.0893 | 5.0893 | 5.0893 |  | 5.089 | 5.089 | 5.0891 | 5.0889 | 5.089 | 5.0891 | 5.0889 | -0.00043828 | 5.0889 | -0.00043828 | 5.0889 | -0.00043828
Annual Average Opaque Cloud Cover Values | tenths | 4.3748 | 4.3748 |  |  | 4.3745 | 4.3745 | 4.375 |  | 4.3745 | 4.3746 | 4.3744 | -0.00019911 | 4.3744 | -0.00019911 | 4.3744 | -0.00019911
Annual Average Sky Temperature Values | C |  | -4.147 | -3.9262 | -2.0219 | -2.0164 | -5.1503 | -2.0316 | -1.3101 | -5.0592 | -3.2078 | -1.985 | -1.5577 | -1.985 | -1.5577 | -1.985 | -1.5577
Annual Average Total Horizontal Radiation Values | W/m2 | 190.6862 | 190.6125 | 189.8032 | 190.2955 | 189.9923 | 189.9948 | 189.7144 | 189.1071 | 191.061 | 190.0726 | 190.6644 | 0.35375 | 190.6644 | 0.35375 | 190.6644 | 0.35375
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 127.1395 | 146.1446 | 126.7727 | 126.6637 | 126.6648 | 126.2455 | 125.6679 | 127.5543 | 129.1066 | 126.8194 | 0.12292 | 126.8194 | 0.12292 | 126.8194 | 0.12292
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 63.5291 | 63.473 | 43.6587 | 63.5228 | 63.3286 | 63.3324 | 63.4689 | 63.4392 | 63.5067 | 60.9663 | 63.845 | 0.81545 | 63.845 | 0.81545 | 63.845 | 0.81545
Annual Average South 90 Total Radiation Values | W/m2 |  | 139.424 | 131.3777 | 138.9462 | 137.4583 | 136.5992 | 139.5724 | 139.4691 | 137.9898 | 137.6046 | 126.8443 | -7.7216 | 132.4988 | -3.608 | 137.0458 | -0.30012
Annual Average South 90 Beam Radiation Values | W/m2 |  | 95.6187 | 109.5484 | 96.5124 | 94.9425 | 94.9597 | 96.639 | 96.3335 | 95.7897 | 97.543 | 94.9218 | -0.021788 | 94.9218 | -0.021788 | 94.9218 | -0.021788
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 43.7997 | 21.8293 | 42.4338 | 42.5159 | 41.6413 | 42.9334 | 43.1355 | 42.2001 | 40.0611 | 31.9225 | -24.9162 | 37.577 | -11.6164 | 42.124 | -0.92165
Annual Average East 90 Total Radiation Values | W/m2 |  | 102.1088 | 98.269 | 101.7602 | 102.2544 | 101.3306 | 103.1205 | 103.5688 | 102.117 | 101.8162 | 97.7168 | -4.4376 | 103.6789 | 1.393 | 109.4217 | 7.0093
Annual Average East 90 Beam Radiation Values | W/m2 |  | 63.6505 | 76.4396 | 64.1642 | 64.2214 | 64.2398 | 64.9405 | 65.0534 | 64.6043 | 65.9142 | 65.7943 | 2.4492 | 65.7943 | 2.4492 | 65.7943 | 2.4492
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 38.459 | 21.8293 | 37.5959 | 38.033 | 37.092 | 38.18 | 38.5154 | 37.5127 | 35.9022 | 31.9225 | -16.0663 | 37.8846 | -0.39028 | 43.6274 | 14.7094
Annual Average North 90 Total Radiation Values | W/m2 |  | 32.7027 | 26.577 | 30.6881 | 31.0287 | 30.3337 | 31.2085 | 31.5337 | 30.8922 | 30.6206 | 36.0725 | 16.2555 | 36.3198 | 17.0525 | 43.3595 | 39.7402
Annual Average North 90 Beam Radiation Values | W/m2 |  | 3.8335 | 4.7477 | 3.6188 | 3.9341 | 3.9317 | 3.9784 | 4.1589 | 3.8613 | 4.008 | 4.15 | 5.4887 | 4.15 | 5.4887 | 4.15 | 5.4887
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 28.8704 | 21.8293 | 27.0693 | 27.0946 | 26.4024 | 27.2302 | 27.3748 | 27.0309 | 26.6127 | 31.9225 | 17.8189 | 32.1698 | 18.7316 | 39.2095 | 44.7135
Annual Average West 90 Total Radiation Values | W/m2 |  | 94.8463 | 84.1215 | 90.945 | 91.4225 | 90.7373 | 92.2945 | 92.756 | 91.4336 | 91.0696 | 86.5992 | -5.2758 | 91.478 | 0.060742 | 97.375 | 6.511
Annual Average West 90 Beam Radiation Values | W/m2 |  | 55.5527 | 62.2921 | 53.45 | 53.7699 | 53.7721 | 54.4726 | 54.6175 | 54.2335 | 55.27 | 54.6767 | 1.6866 | 54.6767 | 1.6866 | 54.6767 | 1.6866
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 39.2971 | 21.8293 | 37.4951 | 37.6527 | 36.9665 | 37.8219 | 38.1385 | 37.2001 | 35.8001 | 31.9225 | -15.2184 | 36.8013 | -2.261 | 42.6983 | 13.4004
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 132.4531 | 128.3401 | 133.5814 | 132.9854 | 132.0422 | 134.6683 | 134.7879 | 133.2107 | 132.7586 | 123.6989 | -6.9831 | 130.8428 | -1.6111 | 135.8567 | 2.1591
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 89.9951 | 106.5108 | 91.8827 | 90.9617 | 90.9787 | 92.3471 | 92.1817 | 91.657 | 93.3143 | 91.7764 | 0.89567 | 91.7764 | 0.89567 | 91.7764 | 0.89567
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 42.4553 | 21.8293 | 41.6986 | 42.0237 | 41.065 | 42.3212 | 42.6062 | 41.5536 | 39.4441 | 31.9225 | -24.0369 | 39.0664 | -7.0371 | 44.0803 | 4.894
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 128.7169 | 117.2477 | 125.1871 | 124.7919 | 124.0257 | 126.3683 | 126.5542 | 125.0822 | 124.7467 | 115.3143 | -7.5947 | 121.7575 | -2.4315 | 126.9172 | 1.7031
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 85.213 | 95.4183 | 83.4825 | 82.9359 | 82.9462 | 84.208 | 84.1241 | 83.6685 | 85.2496 | 83.3918 | 0.54974 | 83.3918 | 0.54974 | 83.3918 | 0.54974
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 43.5071 | 21.8293 | 41.7045 | 41.856 | 41.0812 | 42.1603 | 42.4301 | 41.4137 | 39.4978 | 31.9225 | -23.7325 | 38.3657 | -8.3388 | 43.5253 | 3.9883
Annual Average East 30 Total Radiation Values | W/m2 |  | 182.0414 | 180.6396 | 182.1829 | 182.5481 | 182.0328 | 182.6445 | 182.4426 | 183.128 | 182.2075 | 180.48 | -1.1329 | 182.4634 | -0.046395 | 182.876 | 0.17964
Annual Average East 30 Beam Radiation Values | W/m2 |  | 119.6314 | 139.9055 | 120.102 | 120.2916 | 120.3046 | 120.2297 | 119.8768 | 121.0107 | 122.669 | 120.9118 | 0.51559 | 120.9118 | 0.51559 | 120.9118 | 0.51559
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 62.4161 | 40.7341 | 62.0808 | 62.2565 | 61.7302 | 62.4147 | 62.5658 | 62.1173 | 59.5394 | 59.5682 | -4.3181 | 61.5516 | -1.1322 | 61.9642 | -0.46946
Annual Average South 30 Total Radiation Values | W/m2 |  | 225.6793 | 220.1346 | 225.0898 | 224.0947 | 223.6139 | 224.9255 | 224.3336 | 225.1965 | 224.1335 | 215.0696 | -4.0274 | 220.889 | -1.4305 | 221.2824 | -1.2549
Annual Average South 30 Beam Radiation Values | W/m2 |  | 156.4144 | 179.4005 | 156.4826 | 155.496 | 155.5063 | 156.021 | 155.335 | 156.7116 | 158.9209 | 155.5014 | 0.003453 | 155.5014 | 0.003453 | 155.5014 | 0.003453
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 69.2653 | 40.7341 | 68.6072 | 68.5987 | 68.1097 | 68.9046 | 68.9986 | 68.4849 | 65.2129 | 59.5682 | -13.1642 | 65.3876 | -4.681 | 65.7811 | -4.1074
Annual Average West 30 Total Radiation Values | W/m2 |  | 175.5704 | 168.1624 | 172.2694 | 172.6847 | 172.3703 | 172.7352 | 172.5683 | 173.2267 | 172.4484 | 170.4507 | -1.2936 | 171.5273 | -0.67019 | 171.9452 | -0.42823
Annual Average West 30 Beam Radiation Values | W/m2 |  | 112.2869 | 127.4283 | 110.2348 | 110.7021 | 110.6994 | 110.5715 | 110.2738 | 111.3606 | 112.9447 | 110.8825 | 0.163 | 110.8825 | 0.163 | 110.8825 | 0.163
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 63.2797 | 40.7341 | 62.0346 | 61.9826 | 61.6727 | 62.1637 | 62.2946 | 61.866 | 59.5035 | 59.5682 | -3.8952 | 60.6448 | -2.1583 | 61.0626 | 2.6203
[12 empty] | ISOTROPIC |  | HAY-DAVIES |  | REINDL
WD200 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | Average | OpenSimula | Error (%) | OpenSimula | Error (%) | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 16.6539 | 16.6539 | 16.6539 | 16.6539 | 16.6531 | 16.6532 | 16.6534 | 16.6535 | 16.653 | 16.6535 | 16.653 | -0.00065728 | 16.653 | -0.00065728 | 16.653 | -0.00065728
Annual Average Relative Humidity Values | % | 65.734 | 65.734 | 65.1463 | 65.1447 | 65.7356 | 65.7356 | 65.7344 | 65.7345 | 65.7358 | 65.5876 | 65.7358 | 0.00035497 | 65.7358 | 0.00035497 | 65.7358 | 0.00035497
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0089943 | 0.0090279 | 0.008948 | 0.0089912 |  | 0.0089908 | 0.0091202 | 0.0089909 | 0.009009 | 0.008991 | -0.0028407 | 0.008991 | -0.0028407 | 0.008991 | -0.0028407
Annual Average Dew Point Temperature Values | C | 9.3126 | 9.3126 | 9.3126 | 9.3131 | 9.3123 |  | 9.3125 | 9.5574 | 9.3123 | 9.3476 | 9.4882 | 1.8889 | 9.4882 | 1.8889 | 9.4882 | 1.8889
Annual Average Wet Bulb Temperature Values | C |  | 12.6793 | 12.6246 | 12.6122 | 12.6789 | 13.0238 | 12.6814 | 12.6785 | 12.687 | 12.7082 | 12.6787 | -0.0013407 | 12.6787 | -0.0013407 | 12.6787 | -0.0013407
Annual Average Wind Speed Values | m/s | 4.0382 | 4.0382 | 4.0472 | 4.0382 | 4.0382 | 4.0376 | 4.0391 | 3.9559 | 4.0383 | 4.0291 | 4.0383 | 0.00070441 | 4.0383 | 0.00070441 | 4.0383 | 0.00070441
Annual Average Wind Direction Values | Degrees from North | 198.924 | 198.924 | 198.924 | 190.5462 | 200.0927 | 198.9274 | 198.9759 | 204.4563 | 198.9283 | 198.7218 | 198.9277 | -0.58224 | 198.9277 | -0.58224 | 198.9277 | -0.58224
Annual Average Station Pressure Values | mbar | 981.7305 | 981.7305 | 976.786 | 981.7305 | 981.7311 | 981.7366 | 981.731 | 977.51 | 981.7305 | 980.5858 | 981.7307 | -4.8575e-05 | 981.7307 | -4.8575e-05 | 981.7307 | -4.8575e-05
Annual Average Total Cloud Cover Values | tenths | 5.3439 | 5.3439 | 5.3439 |  | 5.3443 | 5.3443 | 5.3439 | 5.3444 | 5.3444 | 5.3441 | 5.3444 | 0.0016574 | 5.3444 | 0.0016574 | 5.3444 | 0.0016574
Annual Average Opaque Cloud Cover Values | tenths | 4.5332 | 4.5332 |  |  | 4.5337 | 4.5337 | 4.5337 |  | 4.5337 | 4.5336 | 4.5338 | 0.002294 | 4.5338 | 0.002294 | 4.5338 | 0.002294
Annual Average Sky Temperature Values | C |  | 5.7361 | 6.0205 | 6.2812 | 6.2885 | 5.1388 | 6.2695 | 7.0874 | 5.116 | 5.9923 | 6.3607 | 1.1482 | 6.3607 | 1.1482 | 6.3607 | 1.1482
Annual Average Total Horizontal Radiation Values | W/m2 | 192.4724 | 192.1451 | 185.9209 | 192.1848 | 191.4355 | 191.3734 | 191.5941 | 191.0339 | 193.0851 | 191.0966 | 192.4505 | 0.53018 | 192.4505 | 0.53018 | 192.4505 | 0.53018
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 110.0474 | 125.5307 | 109.8388 | 109.5207 | 109.4598 | 109.305 | 108.7833 | 110.7441 | 111.6537 | 109.8191 | 0.27244 | 109.8191 | 0.27244 | 109.8191 | 0.27244
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 82.3596 | 82.0977 | 60.3902 | 82.3461 | 81.9148 | 81.916 | 82.2891 | 82.2506 | 82.341 | 79.4432 | 82.6313 | 0.87477 | 82.6313 | 0.87477 | 82.6313 | 0.87477
Annual Average South 90 Total Radiation Values | W/m2 |  | 114.9143 | 107.5646 | 116.0414 | 112.9475 | 112.8237 | 114.7526 | 114.7285 | 113.7771 | 113.4437 | 116.4787 | 3.1264 | 110.7115 | -1.9797 | 116.4787 | 3.1264
Annual Average South 90 Beam Radiation Values | W/m2 |  | 67.3585 | 77.3695 | 68.6901 | 67.0496 | 67.0835 | 68.4116 | 68.178 | 67.88 | 69.0026 | 67.2723 | 0.33205 | 67.2723 | 0.33205 | 67.2723 | 0.33205
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 47.5543 | 30.1951 | 47.3513 | 45.8979 | 45.7419 | 46.341 | 46.5506 | 45.897 | 44.4411 | 49.2064 | 7.2085 | 43.4392 | -5.3567 | 49.2064 | 7.2085
Annual Average East 90 Total Radiation Values | W/m2 |  | 92.3174 | 62.8448 | 93.159 | 91.8177 | 91.6572 | 92.4338 | 92.8867 | 92.1495 | 88.6583 | 102.9267 | 12.099 | 96.0093 | 4.5651 | 102.9267 | 12.099
Annual Average East 90 Beam Radiation Values | W/m2 |  | 48.1506 | 32.6498 | 49.1782 | 48.8601 | 48.8363 | 49.3018 | 49.3692 | 49.3708 | 46.9646 | 50.5055 | 3.3677 | 50.5055 | 3.3677 | 50.5055 | 3.3677
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 44.1671 | 30.1951 | 43.9808 | 42.9576 | 42.8221 | 43.132 | 43.5175 | 42.7787 | 41.6939 | 52.4212 | 22.0301 | 45.5037 | 5.9271 | 52.4212 | 22.0301
Annual Average North 90 Total Radiation Values | W/m2 |  | 36.4031 | 35.7874 | 35.4928 | 34.4596 | 34.3302 | 34.57 | 34.9078 | 34.3734 | 35.0405 | 52.3811 | 52.0074 | 44.2612 | 28.4438 | 52.3811 | 52.0074
Annual Average North 90 Beam Radiation Values | W/m2 |  | 2.5925 | 5.5924 | 2.5557 | 2.6769 | 2.6837 | 2.6014 | 2.7553 | 2.566 | 3.003 | 2.9107 | 8.737 | 2.9107 | 8.737 | 2.9107 | 8.737
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 33.8059 | 30.1951 | 32.937 | 31.7827 | 31.6471 | 31.9687 | 32.1525 | 31.8074 | 32.037 | 49.4704 | 55.6518 | 41.3504 | 30.1036 | 49.4704 | 55.6518
Annual Average West 90 Total Radiation Values | W/m2 |  | 92.5736 | 119.5859 | 91.0005 | 89.6831 | 89.5492 | 90.3927 | 90.8664 | 90.0525 | 94.213 | 100.1518 | 11.6731 | 93.2202 | 3.9441 | 100.1518 | 11.6731
Annual Average West 90 Beam Radiation Values | W/m2 |  | 46.6094 | 89.3908 | 45.9928 | 45.7783 | 45.7694 | 46.2334 | 46.3226 | 46.2218 | 51.5398 | 47.4016 | 3.5458 | 47.4016 | 3.5458 | 47.4016 | 3.5458
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 45.9681 | 30.1951 | 45.0078 | 43.9047 | 43.781 | 44.1594 | 44.5437 | 43.8307 | 42.6738 | 52.7503 | 20.1472 | 45.8187 | 4.3593 | 52.7503 | 20.1472
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 112.1572 | 84.4895 | 114.2117 | 111.8032 | 111.6636 | 113.1369 | 113.3431 | 112.4757 | 109.1601 | 118.8163 | 6.2728 | 112.4946 | 0.61844 | 118.8163 | 6.2728
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 65.0474 | 54.2944 | 67.0141 | 65.8441 | 65.8541 | 66.8606 | 66.7558 | 66.6354 | 64.7882 | 66.8693 | 1.5571 | 66.8693 | 1.5571 | 66.8693 | 1.5571
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 47.1146 | 30.1951 | 47.1977 | 45.9591 | 45.811 | 46.2763 | 46.5874 | 45.8402 | 44.3727 | 51.947 | 13.0288 | 45.6253 | -0.72632 | 51.947 | 13.0288
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 113.6357 | 131.8241 | 112.5184 | 110.2278 | 110.1033 | 111.5546 | 111.8068 | 110.8598 | 114.0663 | 116.6117 | 5.7916 | 110.2757 | 0.043416 | 116.6117 | 5.7916
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 64.498 | 101.6291 | 64.1839 | 63.1965 | 63.2119 | 64.157 | 64.0975 | 63.8696 | 68.6054 | 64.2151 | 1.6117 | 64.2151 | 1.6117 | 64.2151 | 1.6117
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 49.1345 | 30.1951 | 48.3345 | 47.0313 | 46.893 | 47.3976 | 47.7094 | 46.9901 | 45.4607 | 52.3966 | 11.4081 | 46.0606 | -2.0639 | 52.3966 | 11.4081
Annual Average East 30 Total Radiation Values | W/m2 |  | 178.1151 | 152.5254 | 178.9677 | 177.9348 | 177.7933 | 178.1664 | 178.0296 | 179.082 | 175.0768 | 179.2423 | 0.73487 | 178.7288 | 0.44625 | 179.2423 | 0.73487
Annual Average East 30 Beam Radiation Values | W/m2 |  | 99.7695 | 96.1806 | 100.4486 | 100.1842 | 100.1256 | 100.0973 | 99.7908 | 101.1673 | 99.7205 | 100.8876 | 0.70212 | 100.8876 | 0.70212 | 100.8876 | 0.70212
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 78.3474 | 56.3448 | 78.5191 | 77.7506 | 77.6696 | 78.0691 | 78.2388 | 77.9146 | 75.3568 | 78.3548 | 0.77706 | 77.8412 | 0.11655 | 78.3548 | 0.77706
Annual Average South 30 Total Radiation Values | W/m2 |  | 212.779 | 201.8836 | 213.3473 | 211.2818 | 211.1442 | 212.2694 | 211.7294 | 213.0305 | 210.9331 | 208.9945 | -1.0826 | 208.4987 | -1.3172 | 208.9945 | -1.0826
Annual Average South 30 Beam Radiation Values | W/m2 |  | 127.7625 | 145.5388 | 128.2431 | 127.1498 | 127.1099 | 127.6682 | 127.0527 | 128.6359 | 129.8951 | 127.4224 | 0.21442 | 127.4224 | 0.21442 | 127.4224 | 0.21442
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 85.0213 | 56.3448 | 85.1042 | 84.132 | 84.0365 | 84.6012 | 84.6766 | 84.3945 | 81.0389 | 81.5721 | -3.0427 | 81.0763 | -3.632 | 81.5721 | -3.0427
Annual Average West 30 Total Radiation Values | W/m2 |  | 178.3434 | 194.0211 | 176.8415 | 175.8404 | 175.722 | 176.1058 | 175.9899 | 176.9397 | 178.7255 | 176.4937 | 0.37154 | 175.9805 | 0.079721 | 176.4937 | 0.37154
Annual Average West 30 Beam Radiation Values | W/m2 |  | 98.2955 | 137.6763 | 97.3959 | 97.2235 | 97.1761 | 97.1194 | 96.8452 | 98.0889 | 102.4776 | 97.873 | 0.66811 | 97.873 | 0.66811 | 97.873 | 0.66811
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 80.0476 | 56.3448 | 79.4456 | 78.6169 | 78.5478 | 78.9863 | 79.1448 | 78.8508 | 76.2481 | 78.6206 | 0.0047755 | 78.1075 | -0.64793 | 78.6206 | 3.1116
[12 empty] | ISOTROPIC |  | HAY-DAVIES |  | REINDL
WD300 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | Average | OpenSimula | Error (%) | OpenSimula | Error (%) | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 15.0484 | 15.0484 | 15.0484 | 15.0484 | 15.0485 | 15.0486 | 15.0485 | 15.0485 | 15.0485 | 15.0485 | 15.0485 | -0.00024846 | 15.0485 | -0.00024846 | 15.0485 | -0.00024846
Annual Average Relative Humidity Values | % | 62.8268 | 62.8268 | 62.8513 | 62.8468 | 62.8265 | 62.8276 | 62.8259 | 62.8272 | 62.8277 | 62.8325 | 62.8277 | 0.0020065 | 62.8277 | 0.0020065 | 62.8277 | 0.0020065
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0066495 | 0.0066602 | 0.0066166 | 0.0066233 |  | 0.0066217 | 0.0066984 | 0.0066233 | 0.0066418 | 0.0066234 | 0.0015109 | 0.0066234 | 0.0015109 | 0.0066234 | 0.0015109
Annual Average Dew Point Temperature Values | C | 6.7541 | 6.7541 | 6.7541 | 6.7543 | 6.7542 |  | 6.7543 | 6.7838 | 6.7545 | 6.7585 | 6.7697 | 0.22924 | 6.7697 | 0.22924 | 6.7697 | 0.22924
Annual Average Wet Bulb Temperature Values | C |  | 10.3589 | 10.3595 | 10.3349 | 10.3786 | 10.7815 | 10.3714 | 10.3597 | 10.3794 | 10.4155 | 10.3793 | 0.0064359 | 10.3793 | 0.0064359 | 10.3793 | 0.0064359
Annual Average Wind Speed Values | m/s | 2.8575 | 2.8575 | 2.8671 | 2.8575 | 2.8574 | 2.8571 | 2.8577 | 2.7089 | 2.8575 | 2.8401 | 2.8575 | 0.0048225 | 2.8575 | 0.0048225 | 2.8575 | 0.0048225
Annual Average Wind Direction Values | Degrees from North | 175.4695 | 175.4695 | 175.4695 | 157.825 | 173.2553 | 175.4697 | 175.4587 | 172.1056 | 175.4695 | 172.5653 | 175.4698 | 1.2782 | 175.4698 | 1.2782 | 175.4698 | 1.2782
Annual Average Station Pressure Values | mbar | 959.0622 | 959.0701 | 957.582 | 959.0622 | 959.0621 | 959.0793 | 959.0621 | 958.78 | 959.0621 | 958.845 | 959.0621 | -2.4906e-06 | 959.0621 | -2.4906e-06 | 959.0621 | -2.4906e-06
Annual Average Total Cloud Cover Values | tenths | 3.9078 | 3.9078 | 3.9078 |  | 3.9077 | 3.9079 | 3.9135 | 3.9075 | 3.908 | 3.9086 | 3.908 | 0.0057657 | 3.908 | 0.0057657 | 3.908 | 0.0057657
Annual Average Opaque Cloud Cover Values | tenths | 3.9078 | 3.9078 |  |  | 3.9077 | 3.9079 | 3.9135 |  | 3.908 | 3.909 | 3.908 | 0.0057657 | 3.908 | 0.0057657 | 3.908 | 0.0057657
Annual Average Sky Temperature Values | C |  | 1.9893 | 1.1173 | 3.4063 | 3.4169 | 1.1352 | 3.4184 | 3.422 | 1.1457 | 2.3814 | 3.4309 | 0.40866 | 3.4309 | 0.40866 | 3.4309 | 0.40866
Annual Average Total Horizontal Radiation Values | W/m2 | 218.1332 | 218.1331 | 204.8946 | 218.0357 | 217.2458 | 217.1811 | 218.7752 | 214.3132 | 218.5768 | 215.8944 | 218.1083 | 0.39702 | 218.1083 | 0.39702 | 218.1083 | 0.39702
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 143.4406 | 158.4678 | 143.3301 | 142.7592 | 142.6945 | 144.0941 | 139.6706 | 143.8919 | 144.7936 | 143.3597 | 0.42068 | 143.3597 | 0.42068 | 143.3597 | 0.42068
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 74.6927 | 74.6925 | 46.4268 | 74.7055 | 74.4866 | 74.4852 | 74.6812 | 74.6426 | 74.6848 | 71.1007 | 74.7486 | 0.35169 | 74.7486 | 0.35169 | 74.7486 | 0.35169
Annual Average South 90 Total Radiation Values | W/m2 |  | 34.77 | 32.7789 | 33.1089 | 32.6953 | 32.5645 | 32.6305 | 32.42 | 32.3033 | 32.9089 | 40.9803 | 25.3399 | 40.9536 | 25.2583 | 49.5178 | 51.4521
Annual Average South 90 Beam Radiation Values | W/m2 |  | 3.0957 | 9.5655 | 3.1454 | 3.288 | 3.2698 | 3.1909 | 2.8315 | 3.0085 | 3.9244 | 3.606 | 9.671 | 3.606 | 9.671 | 3.606 | 9.671
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 31.6751 | 23.2134 | 29.9635 | 29.4073 | 29.292 | 29.4396 | 29.5884 | 29.2948 | 28.9843 | 37.3743 | 27.0918 | 37.3476 | 27.0011 | 45.9118 | 56.1236
Annual Average East 90 Total Radiation Values | W/m2 |  | 93.2888 | 53.7362 | 93.5092 | 94.0105 | 93.9172 | 93.7044 | 94.5684 | 93.1979 | 88.7416 | 92.0198 | -2.1175 | 96.806 | 2.9736 | 103.7825 | 10.3946
Annual Average East 90 Beam Radiation Values | W/m2 |  | 51.1345 | 30.5228 | 52.1767 | 52.7296 | 52.7357 | 52.616 | 52.7858 | 52.4882 | 49.6487 | 54.6455 | 3.6335 | 54.6455 | 3.6335 | 54.6455 | 3.6335
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 42.155 | 23.2134 | 41.3325 | 41.2809 | 41.1788 | 41.0884 | 41.7826 | 40.7096 | 39.0927 | 37.3743 | -9.4635 | 42.1605 | 2.1307 | 49.137 | 19.0307
Annual Average North 90 Total Radiation Values | W/m2 |  | 119.0466 | 107.0361 | 116.8023 | 117.7413 | 117.728 | 116.7048 | 125.5103 | 118.0836 | 117.3316 | 110.4378 | -6.203 | 112.1733 | -4.729 | 117.5187 | -0.18912
Annual Average North 90 Beam Radiation Values | W/m2 |  | 72.9254 | 83.8227 | 71.5671 | 72.5966 | 72.6941 | 71.7543 | 78.2466 | 73.103 | 74.5887 | 73.0635 | 0.64313 | 73.0635 | 0.64313 | 73.0635 | 0.64313
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 46.1209 | 23.2134 | 45.2352 | 45.1447 | 45.0313 | 44.9506 | 47.2637 | 44.9807 | 42.7426 | 37.3743 | -17.2123 | 39.1098 | -13.3679 | 44.4552 | -1.5274
Annual Average West 90 Total Radiation Values | W/m2 |  | 101.8549 | 148.5763 | 98.397 | 99.3556 | 99.2389 | 98.9645 | 99.8592 | 98.5689 | 105.6019 | 96.7461 | -2.6264 | 102.2266 | 2.8897 | 109.1378 | 9.8457
Annual Average West 90 Beam Radiation Values | W/m2 |  | 58.3818 | 125.3629 | 56.2619 | 57.1293 | 57.1312 | 56.9345 | 57.0918 | 56.8942 | 65.6484 | 59.3718 | 3.9253 | 59.3718 | 3.9253 | 59.3718 | 3.9253
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 43.4755 | 23.2134 | 42.1351 | 42.2263 | 42.1051 | 42.0299 | 42.7674 | 41.6748 | 39.9534 | 37.3743 | -11.4904 | 42.8548 | 1.4885 | 49.766 | 17.8555
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 58.3788 | 33.4115 | 56.9156 | 56.6278 | 56.5045 | 56.6629 | 55.6018 | 55.8787 | 53.7477 | 61.1039 | 7.9044 | 62.6909 | 10.7069 | 70.4834 | 24.4678
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 22.3416 | 10.1981 | 22.4183 | 22.5024 | 22.4858 | 22.5813 | 21.4084 | 22.1263 | 20.7578 | 23.7296 | 5.4535 | 23.7296 | 5.4535 | 23.7296 | 5.4535
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 36.0416 | 23.2134 | 34.4973 | 34.1254 | 34.0164 | 34.0816 | 34.1934 | 33.7524 | 32.9902 | 37.3743 | 9.5205 | 38.9613 | 14.171 | 46.7538 | 37.0058
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 60.2382 | 90.291 | 58.5905 | 58.8442 | 58.6984 | 58.7458 | 57.6657 | 58.1045 | 62.6473 | 63.1503 | 7.3179 | 64.9607 | 10.3945 | 72.7108 | 23.565
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 24.0393 | 67.0776 | 23.8834 | 24.3611 | 24.3293 | 24.3266 | 23.1143 | 23.9811 | 29.3891 | 25.776 | 5.808 | 25.776 | 5.808 | 25.776 | 5.808
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 36.2012 | 23.2134 | 34.7071 | 34.483 | 34.3665 | 34.4192 | 34.5513 | 34.1233 | 33.2581 | 37.3743 | 8.3846 | 39.1847 | 13.6347 | 46.9347 | 36.1097
Annual Average East 30 Total Radiation Values | W/m2 |  | 195.9035 | 155.6156 | 196.8118 | 196.4863 | 196.3889 | 197.3699 | 194.0763 | 196.8091 | 191.1827 | 195.3062 | -0.60063 | 195.949 | -0.27347 | 196.416 | -0.035779
Annual Average East 30 Beam Radiation Values | W/m2 |  | 123.5143 | 112.2988 | 124.805 | 124.6841 | 124.6377 | 125.5008 | 122.0463 | 125.1548 | 122.8302 | 125.5648 | 0.70634 | 125.5648 | 0.70634 | 125.5648 | 0.70634
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 72.3908 | 43.3168 | 72.0068 | 71.8022 | 71.7486 | 71.8691 | 72.03 | 71.6542 | 68.3523 | 69.7414 | -2.8702 | 70.3842 | -1.9749 | 70.8512 | -1.3245
Annual Average South 30 Total Radiation Values | W/m2 |  | 154.7177 | 145.7953 | 154.3228 | 153.1424 | 152.9592 | 154.6787 | 146.991 | 153.4976 | 152.0131 | 159.5039 | 4.154 | 152.7325 | -0.26766 | 153.1894 | 0.030708
Annual Average South 30 Beam Radiation Values | W/m2 |  | 89.8002 | 102.4785 | 90.3381 | 89.7064 | 89.5935 | 90.9536 | 84.1806 | 89.9903 | 90.8802 | 89.7625 | 0.062496 | 89.7625 | 0.062496 | 89.7625 | 0.062496
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 64.9164 | 43.3168 | 63.9847 | 63.4359 | 63.3633 | 63.7251 | 62.8105 | 63.5073 | 61.1325 | 69.7414 | 9.9399 | 62.97 | -0.73454 | 63.4269 | -0.014243
Annual Average West 30 Total Radiation Values | W/m2 |  | 203.9534 | 228.0871 | 201.2219 | 201.1696 | 201.0464 | 202.0289 | 198.6991 | 201.5508 | 204.7197 | 199.3976 | -0.88083 | 200.6136 | -0.2764 | 201.0775 | -0.045795
Annual Average West 30 Beam Radiation Values | W/m2 |  | 130.3077 | 184.7703 | 128.4903 | 128.5681 | 128.5149 | 129.3524 | 125.8472 | 129.0717 | 135.6153 | 129.6563 | 0.84635 | 129.6563 | 0.84635 | 129.6563 | 0.84635
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 73.6446 | 43.3168 | 72.7316 | 72.6015 | 72.529 | 72.6765 | 72.8519 | 72.479 | 69.1039 | 69.7414 | -3.9394 | 70.9573 | -2.2647 | 71.4212 | 3.3534
WD400 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | Average |  | Error (%) |  | Error (%) |  | Error (%)
Annual Average Dry Bulb Temperature Values | C | -11.816 | -11.816 | -11.816 | -11.816 | -11.8165 | -11.8167 | -11.8166 | -11.8169 | -11.8168 | -11.8164 | -11.8168 | 0.0028982 | -11.8168 | 0.0028982 | -11.8168 | 0.0028982
Annual Average Relative Humidity Values | % | 84.1941 | 84.1941 | 82.1494 | 82.1522 | 84.1941 | 84.194 | 84.1926 | 84.1938 | 84.194 | 83.683 | 84.1939 | -0.0002153 | 84.1939 | -0.0002153 | 84.1939 | -0.0002153
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0018644 | 0.0018662 | 0.0018555 | 0.0018795 |  | 0.0018799 | 0.0018701 | 0.0018794 | 0.0018707 | 0.0018794 | -0.0082852 | 0.0018794 | -0.0082852 | 0.0018794 | -0.0082852
Annual Average Dew Point Temperature Values | C | -14.0507 | -14.0507 | -14.0507 | -14.0504 | -14.0461 |  | -14.0513 | -13.7489 | -14.0515 | -14.0071 | -13.773 | -1.9445 | -13.773 | -1.9445 | -13.773 | -1.9445
Annual Average Wet Bulb Temperature Values | C |  | -12.2454 | -12.2898 | -12.2834 | -12.2643 | -12.0345 | -12.2754 | -12.2386 | -12.2639 | -12.2369 | -12.2647 | 0.0034235 | -12.2647 | 0.0034235 | -12.2647 | 0.0034235
Annual Average Wind Speed Values | m/s | 5.4435 | 5.4435 | 5.4461 | 5.4435 | 5.4441 | 5.4438 | 5.4443 | 5.4139 | 5.4443 | 5.4404 | 5.4444 | 0.0046442 | 5.4444 | 0.0046442 | 5.4444 | 0.0046442
Annual Average Wind Direction Values | Degrees from North | 139.4548 | 139.4548 | 139.4548 | 128.4663 | 135.7585 | 139.4488 | 139.4551 | 137.5076 | 139.4481 | 137.3743 | 139.4476 | 2.7174 | 139.4476 | 2.7174 | 139.4476 | 2.7174
Annual Average Station Pressure Values | mbar | 1014.5711 | 1014.5711 | 1012.04 | 1014.5711 | 1014.5714 | 1014.5763 | 1014.5717 | 1012.07 | 1014.5718 | 1013.9429 | 1014.5718 | 3.909e-05 | 1014.5718 | 3.909e-05 | 1014.5718 | 3.909e-05
Annual Average Total Cloud Cover Values | tenths | 6.8413 | 6.8413 | 6.8413 |  | 6.8416 | 6.8416 | 6.8413 | 6.8416 | 6.8416 | 6.8415 | 6.8417 | 0.00087832 | 6.8417 | 0.00087832 | 6.8417 | 0.00087832
Annual Average Opaque Cloud Cover Values | tenths | 5.9671 | 5.9671 |  |  | 5.9675 | 5.9675 | 5.9664 |  | 5.9675 | 5.9672 | 5.9676 | 0.0012857 | 5.9676 | 0.0012857 | 5.9676 | 0.0012857
Annual Average Sky Temperature Values | C |  | -23.7353 | -23.5114 | -25.0208 | -25.0148 | -24.9478 | -25.035 | -24.1851 | -24.9541 | -24.5505 | -24.9127 | -0.40812 | -24.9127 | -0.40812 | -24.9127 | -0.40812
Annual Average Total Horizontal Radiation Values | W/m2 | 81.4526 | 81.1701 | 75.5953 | 81.0375 | 81.147 | 81.2377 | 80.7828 | 80.9265 | 81.5896 | 80.4358 | 81.4433 | 0.36507 | 81.4433 | 0.36507 | 81.4433 | 0.36507
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 28.6946 | 30.7349 | 28.407 | 28.5243 | 28.6121 | 28.1464 | 28.3039 | 28.9 | 28.7904 | 28.6453 | 0.42442 | 28.6453 | 0.42442 | 28.6453 | 0.42442
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 52.7065 | 52.4755 | 44.8603 | 52.6304 | 52.6228 | 52.6239 | 52.6364 | 52.6227 | 52.6896 | 51.6452 | 52.7979 | 0.3329 | 52.7979 | 0.3329 | 52.7979 | 0.3329
Annual Average South 90 Total Radiation Values | W/m2 |  | 76.5888 | 61.4499 | 76.041 | 74.4285 | 74.404 | 75.4825 | 75.3316 | 75.2513 | 73.6222 | 64.0701 | -13.9172 | 69.3449 | -6.8302 | 71.7361 | -3.6173
Annual Average South 90 Beam Radiation Values | W/m2 |  | 39.591 | 39.0197 | 38.2299 | 39.3722 | 39.3458 | 39.8415 | 39.6178 | 40.0167 | 39.3793 | 37.6711 | -4.3204 | 37.6711 | -4.3204 | 37.6711 | -4.3204
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 37.0043 | 22.4302 | 37.8112 | 35.0563 | 35.0556 | 35.6411 | 35.7138 | 35.2347 | 34.2434 | 26.399 | -24.6954 | 31.6737 | -9.649 | 34.065 | -2.8277
Annual Average East 90 Total Radiation Values | W/m2 |  | 53.0107 | 32.4988 | 52.0955 | 50.7947 | 50.8132 | 51.1828 | 51.2014 | 51.1053 | 49.0878 | 47.3248 | -6.8312 | 50.3346 | -0.90571 | 53.0618 | 4.4633
Annual Average East 90 Beam Radiation Values | W/m2 |  | 21.2346 | 10.0686 | 20.6635 | 21.41 | 21.4172 | 21.5499 | 21.5665 | 21.7054 | 19.952 | 20.9258 | -2.2614 | 20.9258 | -2.2614 | 20.9258 | -2.2614
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 31.7775 | 22.4302 | 31.432 | 29.3847 | 29.3934 | 29.6329 | 29.6349 | 29.3999 | 29.1357 | 26.399 | -10.1608 | 29.4088 | 0.082026 | 32.136 | 9.363
Annual Average North 90 Total Radiation Values | W/m2 |  | 31.158 | 37.1218 | 30.2517 | 29.1529 | 29.157 | 29.1121 | 29.2541 | 29.1639 | 30.5464 | 31.5747 | 8.3073 | 32.4155 | 11.1912 | 35.4317 | 21.5374
Annual Average North 90 Beam Radiation Values | W/m2 |  | 4.8845 | 14.6917 | 4.6573 | 5.3453 | 5.3518 | 5.3246 | 5.4123 | 5.2903 | 6.3697 | 5.1758 | -3.172 | 5.1758 | -3.172 | 5.1758 | -3.172
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 26.2745 | 22.4302 | 25.5944 | 23.8076 | 23.8026 | 23.7875 | 23.8418 | 23.8736 | 24.1765 | 26.399 | 10.8846 | 27.2397 | 14.416 | 30.2559 | 27.0852
Annual Average West 90 Total Radiation Values | W/m2 |  | 54.7819 | 74.4611 | 53.6198 | 52.2226 | 52.2471 | 52.6687 | 52.6867 | 52.4907 | 55.6473 | 48.4149 | -7.2912 | 51.7205 | -0.96131 | 54.4145 | 4.1973
Annual Average West 90 Beam Radiation Values | W/m2 |  | 22.3373 | 52.0309 | 21.6159 | 22.3607 | 22.3768 | 22.5332 | 22.5335 | 22.6075 | 26.0495 | 22.0159 | -1.5418 | 22.0159 | -1.5418 | 22.0159 | -1.5418
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 32.4447 | 22.4302 | 32.0038 | 29.8619 | 29.8676 | 30.1355 | 30.1531 | 29.8832 | 29.5975 | 26.399 | -11.5964 | 29.7046 | -0.52663 | 32.3986 | 8.4948
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 68.7802 | 44.3884 | 68.2258 | 66.7007 | 66.6874 | 67.5053 | 67.417 | 67.3747 | 64.635 | 58.5695 | -12.1906 | 63.1018 | -5.3957 | 65.6131 | -1.6306
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 33.4697 | 21.9582 | 32.4893 | 33.4684 | 33.4521 | 33.8048 | 33.6819 | 34.0164 | 32.0426 | 32.1705 | -3.878 | 32.1705 | -3.878 | 32.1705 | -3.878
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 35.3166 | 22.4302 | 35.7365 | 33.2323 | 33.2328 | 33.7005 | 33.7351 | 33.3583 | 32.5928 | 26.399 | -20.5623 | 30.9312 | -6.9242 | 33.4425 | 0.63269
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 71.1855 | 75.9541 | 70.2814 | 68.6746 | 68.6779 | 69.5561 | 69.446 | 69.3383 | 70.3892 | 60.1128 | -12.4673 | 65.037 | -5.2969 | 67.5267 | -1.6716
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 35.1933 | 53.524 | 33.9408 | 34.8989 | 34.894 | 35.2794 | 35.124 | 35.4292 | 37.2854 | 33.7138 | -3.3957 | 33.7138 | -3.3957 | 33.7138 | -3.3957
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 35.9993 | 22.4302 | 36.3406 | 33.7757 | 33.7813 | 34.2767 | 34.322 | 33.909 | 33.1044 | 26.399 | -21.8405 | 31.3232 | -7.2613 | 33.8129 | 0.10991
Annual Average East 30 Total Radiation Values | W/m2 |  | 78.0381 | 60.565 | 77.6643 | 77.0307 | 77.0835 | 76.9567 | 77.0837 | 77.4256 | 75.2309 | 76.4736 | -0.72318 | 77.6778 | 0.84011 | 77.9031 | 1.1326
Annual Average East 30 Beam Radiation Values | W/m2 |  | 27.3915 | 18.7097 | 27.0688 | 27.4582 | 27.5099 | 27.2624 | 27.3849 | 27.833 | 26.3273 | 27.2124 | -0.89486 | 27.2124 | -0.89486 | 27.2124 | -0.89486
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 50.6419 | 41.8553 | 50.5955 | 49.5725 | 49.571 | 49.6943 | 49.6988 | 49.5925 | 48.9027 | 49.2611 | -0.62809 | 50.4654 | 1.8011 | 50.6907 | 2.2557
Annual Average South 30 Total Radiation Values | W/m2 |  | 98.7968 | 85.5171 | 98.5515 | 97.7217 | 97.7895 | 98.0199 | 98.0395 | 98.5419 | 96.6222 | 91.4826 | -6.3846 | 94.9475 | -2.8389 | 95.1612 | -2.6202
Annual Average South 30 Beam Radiation Values | W/m2 |  | 43.1739 | 43.6618 | 42.3984 | 42.9849 | 43.0451 | 42.9463 | 42.9497 | 43.6601 | 43.1025 | 42.2214 | -1.7762 | 42.2214 | -1.7762 | 42.2214 | -1.7762
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 55.6228 | 41.8553 | 56.1531 | 54.7368 | 54.7419 | 55.0735 | 55.0898 | 54.8818 | 53.5194 | 49.2611 | -10.0036 | 52.7261 | -3.6734 | 52.9398 | -3.283
Annual Average West 30 Total Radiation Values | W/m2 |  | 79.6842 | 90.1526 | 79.0751 | 78.3627 | 78.4311 | 78.3395 | 78.4604 | 78.7083 | 80.1518 | 77.5045 | -1.0951 | 78.9734 | 0.77941 | 79.1973 | 1.0651
Annual Average West 30 Beam Radiation Values | W/m2 |  | 28.4535 | 48.2973 | 27.9864 | 28.3571 | 28.4275 | 28.1974 | 28.3027 | 28.6897 | 30.8389 | 28.2433 | -0.40106 | 28.2433 | -0.40106 | 28.2433 | -0.40106
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 51.2331 | 41.8553 | 51.0888 | 50.0056 | 50.0011 | 50.1422 | 50.1578 | 50.0187 | 49.3128 | 49.2611 | -1.4887 | 50.7301 | 1.4488 | 50.954 | 3.3281
WD500 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | Average |  | Error (%) |  | Error (%) |  | Error (%)
Annual Average Dry Bulb Temperature Values | C | 25.5528 | 25.5528 | 25.5528 | 25.5528 | 25.5514 | 25.5514 | 25.5515 | 25.5511 | 25.5513 | 25.5519 | 25.5511 | -0.0012759 | 25.5511 | -0.0012759 | 25.5511 | -0.0012759
Annual Average Relative Humidity Values | % | 59.7289 | 59.7289 | 59.7297 | 59.7254 | 59.7308 | 59.7314 | 59.7283 | 59.7301 | 59.7318 | 59.7295 | 59.7319 | 0.0018746 | 59.7319 | 0.0018746 | 59.7319 | 0.0018746
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.012731 | 0.01273 | 0.012664 | 0.012679 |  | 0.012674 | 0.012823 | 0.012678 | 0.012711 | 0.012678 | -0.0018632 | 0.012678 | -0.0018632 | 0.012678 | -0.0018632
Annual Average Dew Point Temperature Values | C | 15.5352 | 15.5352 | 15.5352 | 15.5352 | 15.5343 |  | 15.5343 | 15.5653 | 15.5345 | 15.5391 | 15.5605 | 0.16822 | 15.5605 | 0.16822 | 15.5605 | 0.16822
Annual Average Wet Bulb Temperature Values | C |  | 19.1265 | 19.1242 | 19.0748 | 19.1467 | 19.5968 | 19.1383 | 19.1243 | 19.1472 | 19.1848 | 19.1472 | 0.0025555 | 19.1472 | 0.0025555 | 19.1472 | 0.0025555
Annual Average Wind Speed Values | m/s | 2.3817 | 2.3817 | 2.4297 | 2.3817 | 2.3816 | 2.3811 | 2.383 | 2.2896 | 2.3815 | 2.3762 | 2.3815 | -0.0062298 | 2.3815 | -0.0062298 | 2.3815 | -0.0062298
Annual Average Wind Direction Values | Degrees from North | 200.1526 | 200.1526 | 200.1526 | 158.6328 | 200.1992 | 200.1452 | 200.1508 | 202.5811 | 200.1439 | 195.2698 | 200.1439 | -0.027602 | 200.1439 | -0.027602 | 200.1439 | -0.027602
Annual Average Station Pressure Values | mbar | 985.7236 | 985.7325 | 985.117 | 985.7236 | 985.7238 | 985.7374 | 985.7235 | 985.66 | 985.7235 | 985.6427 | 985.7235 | -3.0479e-05 | 985.7235 | -3.0479e-05 | 985.7235 | -3.0479e-05
Annual Average Total Cloud Cover Values | tenths | 3.5233 | 3.5233 | 3.5233 |  | 3.5232 | 3.5233 | 3.5239 | 3.5228 | 3.5234 | 3.5233 | 3.5233 | 0.0034076 | 3.5233 | 0.0034076 | 3.5233 | 0.0034076
Annual Average Opaque Cloud Cover Values | tenths | 3.5233 | 3.5233 |  |  | 3.5232 | 3.5233 | 3.5239 |  | 3.5234 | 3.5234 | 3.5233 | 0.0034076 | 3.5233 | 0.0034076 | 3.5233 | 0.0034076
Annual Average Sky Temperature Values | C |  | 14.7913 | 14.2975 | 15.157 | 15.1628 | 14.3144 | 15.1407 | 15.1428 | 14.3032 | 14.7887 | 15.1834 | 0.13589 | 15.1834 | 0.13589 | 15.1834 | 0.13589
Annual Average Total Horizontal Radiation Values | W/m2 | 220.0844 | 219.797 | 216.2859 | 219.9682 | 218.9608 | 218.9888 | 219.0854 | 218.2441 | 220.3289 | 218.9574 | 220.0592 | 0.50167 | 220.0592 | 0.50167 | 220.0592 | 0.50167
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 141.6584 | 163.2249 | 141.5478 | 140.7588 | 140.7849 | 140.6964 | 139.8922 | 141.9272 | 143.8113 | 141.5617 | 0.57039 | 141.5617 | 0.57039 | 141.5617 | 0.57039
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 78.4104 | 78.1386 | 53.061 | 78.4204 | 78.202 | 78.2024 | 78.3889 | 78.3518 | 78.4017 | 75.1459 | 78.4976 | 0.37796 | 78.4976 | 0.37796 | 78.4976 | 0.37796
Annual Average South 90 Total Radiation Values | W/m2 |  | 127.9552 | 122.2269 | 131.0883 | 128.4 | 128.2446 | 130.3739 | 130.2621 | 128.6336 | 128.3981 | 122.4096 | -4.6654 | 125.8391 | -1.9945 | 131.6029 | 2.4945
Annual Average South 90 Beam Radiation Values | W/m2 |  | 82.5233 | 95.6964 | 84.4284 | 82.5056 | 82.4422 | 84.0207 | 83.7571 | 83.0186 | 84.7991 | 83.1608 | 0.79411 | 83.1608 | 0.79411 | 83.1608 | 0.79411
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 45.4394 | 26.5305 | 46.6599 | 45.8943 | 45.7997 | 46.3532 | 46.505 | 45.6151 | 43.5996 | 39.2488 | -14.4801 | 42.6782 | -7.0076 | 48.4421 | 5.5514
Annual Average East 90 Total Radiation Values | W/m2 |  | 105.4377 | 71.2856 | 96.3419 | 96.1674 | 96.0982 | 95.9909 | 96.6242 | 95.2044 | 94.1438 | 94.8025 | -1.4193 | 99.5615 | 3.5293 | 106.7966 | 11.0528
Annual Average East 90 Beam Radiation Values | W/m2 |  | 61.2685 | 44.7551 | 53.2432 | 53.3481 | 53.3478 | 53.2598 | 53.4336 | 53.0863 | 53.2178 | 55.5537 | 4.1344 | 55.5537 | 4.1344 | 55.5537 | 4.1344
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 44.1697 | 26.5305 | 43.0987 | 42.8194 | 42.7478 | 42.7312 | 43.1906 | 42.1182 | 40.9257 | 39.2488 | -8.3387 | 44.0078 | 2.7754 | 51.2429 | 19.6723
Annual Average North 90 Total Radiation Values | W/m2 |  | 35.129 | 30.077 | 33.6723 | 33.0052 | 32.9449 | 32.8753 | 33.2259 | 32.7393 | 32.9586 | 41.8476 | 26.7913 | 41.6355 | 26.1485 | 50.3764 | 52.6318
Annual Average North 90 Beam Radiation Values | W/m2 |  | 2.4751 | 3.5465 | 2.3215 | 2.4399 | 2.4528 | 2.2828 | 2.4465 | 2.2724 | 2.5297 | 2.5989 | 6.5146 | 2.5989 | 6.5146 | 2.5989 | 6.5146
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 32.6541 | 26.5305 | 31.3508 | 30.5652 | 30.4896 | 30.5925 | 30.7794 | 30.4669 | 30.4286 | 39.2488 | 28.4099 | 39.0367 | 27.7158 | 47.7775 | 56.3132
Annual Average West 90 Total Radiation Values | W/m2 |  | 88.9878 | 115.691 | 97.8345 | 97.8043 | 97.7342 | 97.544 | 98.1794 | 96.8667 | 98.8302 | 95.9052 | -1.9417 | 100.923 | 3.1888 | 108.1067 | 10.5337
Annual Average West 90 Beam Radiation Values | W/m2 |  | 46.5095 | 89.1605 | 54.2128 | 54.4098 | 54.4014 | 54.2478 | 54.4042 | 54.1407 | 57.6858 | 56.6564 | 4.1292 | 56.6564 | 4.1292 | 56.6564 | 4.1292
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 42.4811 | 26.5305 | 43.6217 | 43.3945 | 43.3303 | 43.2962 | 43.7753 | 42.726 | 41.1444 | 39.2488 | -9.5535 | 44.2666 | 2.0097 | 51.4503 | 18.564
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 128.7062 | 97.8534 | 123.5733 | 121.9432 | 121.8337 | 122.9172 | 123.2306 | 121.4812 | 120.1924 | 116.7083 | -4.293 | 121.9767 | 0.027455 | 128.3925 | 5.2887
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 82.2206 | 71.3229 | 76.9513 | 75.8324 | 75.8066 | 76.616 | 76.5986 | 75.9362 | 76.4106 | 77.4595 | 2.1456 | 77.4595 | 2.1456 | 77.4595 | 2.1456
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 46.4854 | 26.5305 | 46.622 | 46.1108 | 46.0246 | 46.3012 | 46.632 | 45.545 | 43.7815 | 39.2488 | -14.8816 | 44.5172 | -3.4559 | 50.933 | 10.4579
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 116.6915 | 138.026 | 125.5224 | 124.1283 | 124.0099 | 124.9589 | 125.2651 | 123.7128 | 125.2894 | 118.3337 | -4.6682 | 123.9612 | -0.13466 | 130.3402 | 5.0044
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 71.0805 | 111.4955 | 78.3465 | 77.4225 | 77.3804 | 78.0801 | 78.0498 | 77.5228 | 81.1723 | 79.085 | 2.1473 | 79.085 | 2.1473 | 79.085 | 2.1473
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 45.6058 | 26.5305 | 47.176 | 46.7058 | 46.627 | 46.8789 | 47.2153 | 46.19 | 44.1161 | 39.2488 | -15.966 | 44.8762 | -3.9173 | 51.2553 | 9.7406
Annual Average East 30 Total Radiation Values | W/m2 |  | 206.9374 | 178.9185 | 200.4693 | 199.8576 | 199.839 | 199.6279 | 199.3924 | 200.11 | 198.144 | 198.9667 | -0.44578 | 199.7493 | -0.054224 | 200.2525 | 0.19757
Annual Average East 30 Beam Radiation Values | W/m2 |  | 130.5336 | 129.4119 | 124.8708 | 124.5552 | 124.5769 | 124.2618 | 123.8345 | 125.0314 | 125.8845 | 125.7275 | 0.94117 | 125.7275 | 0.94117 | 125.7275 | 0.94117
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 76.404 | 49.5066 | 75.5985 | 75.3024 | 75.2594 | 75.3661 | 75.5579 | 75.0785 | 72.2592 | 73.2392 | -2.7399 | 74.0218 | -1.7007 | 74.525 | -1.0324
Annual Average South 30 Total Radiation Values | W/m2 |  | 243.4293 | 237.0986 | 246.1914 | 244.0714 | 244.0012 | 245.203 | 244.3464 | 245.3552 | 243.7121 | 236.1891 | -3.2295 | 241.3645 | -1.1091 | 241.8445 | -0.9124
Annual Average South 30 Beam Radiation Values | W/m2 |  | 161.9405 | 187.592 | 163.6456 | 161.9716 | 161.9563 | 162.7326 | 161.8422 | 163.2957 | 165.6221 | 162.9499 | 0.60398 | 162.9499 | 0.60398 | 162.9499 | 0.60398
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 81.4846 | 49.5066 | 82.5458 | 82.0998 | 82.0424 | 82.4704 | 82.5042 | 82.0595 | 78.0892 | 73.2392 | -10.7924 | 78.4146 | -4.4887 | 78.8946 | -3.904
Annual Average West 30 Total Radiation Values | W/m2 |  | 194.4014 | 213.9167 | 201.7832 | 201.2193 | 201.2011 | 200.9614 | 200.7162 | 201.5074 | 201.9633 | 199.8519 | -0.67956 | 200.9399 | -0.13887 | 201.4418 | 0.11057
Annual Average West 30 Beam Radiation Values | W/m2 |  | 119.1675 | 164.4101 | 125.7079 | 125.4099 | 125.4264 | 125.0867 | 124.6339 | 125.8899 | 129.4665 | 126.6127 | 0.95908 | 126.6127 | 0.95908 | 126.6127 | 0.95908
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 75.2307 | 49.5066 | 76.0753 | 75.8094 | 75.7722 | 75.8747 | 76.0823 | 75.6175 | 72.4961 | 73.2392 | -3.3903 | 74.3272 | -1.9552 | 74.8291 | 3.2182
WD600 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | Average |  | Error (%) |  | Error (%) |  | Error (%)
Annual Average Dry Bulb Temperature Values | C | 10.8787 | 10.8787 | 10.8787 | 10.8787 | 10.8765 | 10.876 | 10.8762 | 10.8756 | 10.8756 | 10.877 | 10.8754 | -0.01034 | 10.8754 | -0.01034 | 10.8754 | -0.01034
Annual Average Relative Humidity Values | % | 49.6147 | 49.6147 | 49.582 | 49.5855 | 49.6167 | 49.6179 | 49.6177 | 49.6183 | 49.6182 | 49.6089 | 49.6186 | 0.0037214 | 49.6186 | 0.0037214 | 49.6186 | 0.0037214
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0049371 | 0.0049732 | 0.0049128 | 0.0049253 |  | 0.0049215 | 0.0049661 | 0.0049252 | 0.0049373 | 0.0049254 | 0.0020911 | 0.0049254 | 0.0020911 | 0.0049254 | 0.0020911
Annual Average Dew Point Temperature Values | C | -1.064 | -1.064 | -1.064 | -1.0633 | -1.0655 |  | -1.0656 | -0.86319 | -1.066 | -1.0359 | -1.0262 | -3.6801 | -1.0262 | -3.6801 | -1.0262 | -3.6801
Annual Average Wet Bulb Temperature Values | C |  | 4.9213 | 4.9046 | 4.905 | 4.8883 | 5.4504 | 4.9085 | 4.9542 | 4.925 | 4.9822 | 4.8856 | -0.05528 | 4.8856 | -0.05528 | 4.8856 | -0.05528
Annual Average Wind Speed Values | m/s | 3.917 | 3.917 | 3.9266 | 3.917 | 3.917 | 3.916 | 3.9175 | 3.7677 | 3.9166 | 3.8994 | 3.9165 | -0.010808 | 3.9165 | -0.010808 | 3.9165 | -0.010808
Annual Average Wind Direction Values | Degrees from North | 179.2556 | 179.2556 | 179.2556 | 157.649 | 174.3587 | 179.2384 | 179.265 | 178.777 | 179.2368 | 175.8795 | 179.2352 | 2.7968 | 179.2352 | 2.7968 | 179.2352 | 2.7968
Annual Average Station Pressure Values | mbar | 834.6008 | 834.6008 | 830.11 | 834.6008 | 834.6003 | 834.6096 | 834.601 | 835.94 | 834.6012 | 834.2079 | 834.6012 | 0.00011147 | 834.6012 | 0.00011147 | 834.6012 | 0.00011147
Annual Average Total Cloud Cover Values | tenths | 5.0893 | 5.0893 | 5.0893 |  | 5.089 | 5.089 | 5.0891 | 5.0889 | 5.089 | 5.0891 | 5.0889 | -0.00043828 | 5.0889 | -0.00043828 | 5.0889 | -0.00043828
Annual Average Opaque Cloud Cover Values | tenths | 4.3748 | 4.3748 |  |  | 4.3745 | 4.3745 | 4.375 |  | 4.3745 | 4.3746 | 4.3744 | -0.00019911 | 4.3744 | -0.00019911 | 4.3744 | -0.00019911
Annual Average Sky Temperature Values | C |  | -4.147 | -3.9262 | -2.0219 | -2.0164 | -5.1503 | -2.0316 | -1.3101 | -5.0592 | -3.2078 | -1.985 | -1.5577 | -1.985 | -1.5577 | -1.985 | -1.5577
Annual Average Total Horizontal Radiation Values | W/m2 | 190.6862 | 190.6125 | 189.8032 | 190.2955 | 189.9923 | 189.9948 | 189.7144 | 189.1076 | 191.061 | 190.0727 | 190.6644 | 0.35375 | 190.6644 | 0.35375 | 190.6644 | 0.35375
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 127.1395 | 146.1446 | 126.7727 | 126.6637 | 126.6648 | 126.2455 | 125.6682 | 127.5543 | 129.1066 | 126.8194 | 0.12292 | 126.8194 | 0.12292 | 126.8194 | 0.12292
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 63.5291 | 63.473 | 43.6587 | 63.5228 | 63.3286 | 63.3324 | 63.4689 | 63.4393 | 63.5067 | 60.9663 | 63.845 | 0.81545 | 63.845 | 0.81545 | 63.845 | 0.81545
Annual Average South 90 Total Radiation Values | W/m2 |  | 158.4925 | 150.3581 | 158.0148 | 156.4575 | 155.5984 | 158.6409 | 158.3775 | 157.0959 | 156.6294 | 145.9107 | -6.741 | 151.5653 | -3.1269 | 156.1122 | -0.22068
Annual Average South 90 Beam Radiation Values | W/m2 |  | 95.6187 | 109.5484 | 96.5124 | 94.9425 | 94.9579 | 96.639 | 96.334 | 95.7897 | 97.5428 | 94.9218 | -0.021788 | 94.9218 | -0.021788 | 94.9218 | -0.021788
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 62.8767 | 40.8097 | 61.5024 | 61.515 | 60.638 | 62.0019 | 62.0435 | 61.3062 | 59.0867 | 50.989 | -17.1114 | 56.6435 | -7.9193 | 61.1905 | -0.52764
Annual Average East 90 Total Radiation Values | W/m2 |  | 121.1813 | 117.2493 | 120.8288 | 121.2536 | 120.3299 | 122.189 | 122.4778 | 121.2231 | 120.8416 | 116.7832 | -3.6868 | 122.7453 | 1.2302 | 128.4881 | 5.9665
Annual Average East 90 Beam Radiation Values | W/m2 |  | 63.6505 | 76.4396 | 64.1642 | 64.2214 | 64.2386 | 64.9405 | 65.0536 | 64.6043 | 65.9141 | 65.7943 | 2.4492 | 65.7943 | 2.4492 | 65.7943 | 2.4492
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 57.5329 | 40.8097 | 56.6646 | 57.0322 | 56.0888 | 57.2485 | 57.4243 | 56.6188 | 54.9275 | 50.989 | -10.5962 | 56.951 | -0.14232 | 62.6939 | 9.9272
Annual Average North 90 Total Radiation Values | W/m2 |  | 51.7816 | 45.5574 | 49.7567 | 50.0278 | 49.3329 | 50.2771 | 50.4436 | 49.9983 | 49.6469 | 55.139 | 10.2166 | 55.3863 | 10.7109 | 62.426 | 24.7824
Annual Average North 90 Beam Radiation Values | W/m2 |  | 3.8335 | 4.7477 | 3.6188 | 3.9341 | 3.9313 | 3.9784 | 4.1592 | 3.8613 | 4.008 | 4.15 | 5.4887 | 4.15 | 5.4887 | 4.15 | 5.4887
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 47.9473 | 40.8097 | 46.1379 | 46.0937 | 45.3991 | 46.2987 | 46.2844 | 46.137 | 45.6385 | 50.989 | 10.6201 | 51.2362 | 11.1566 | 58.2759 | 26.4292
Annual Average West 90 Total Radiation Values | W/m2 |  | 113.9266 | 103.1018 | 110.0137 | 110.4217 | 109.7365 | 111.363 | 111.6636 | 110.5397 | 110.0958 | 105.6657 | -4.3071 | 110.5445 | 0.11121 | 116.4414 | 5.4516
Annual Average West 90 Beam Radiation Values | W/m2 |  | 55.5527 | 62.2921 | 53.45 | 53.7699 | 53.771 | 54.4726 | 54.6179 | 54.2335 | 55.27 | 54.6767 | 1.6866 | 54.6767 | 1.6866 | 54.6767 | 1.6866
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 58.3744 | 40.8097 | 56.5637 | 56.6518 | 55.9632 | 56.8904 | 57.0457 | 56.3062 | 54.8256 | 50.989 | -9.9959 | 55.8678 | -1.384 | 61.7647 | 9.0251
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 151.5251 | 147.3204 | 152.65 | 151.9845 | 151.0414 | 153.7368 | 153.6964 | 152.3168 | 151.7839 | 142.7653 | -6.0659 | 149.9093 | -1.3654 | 154.9231 | 1.9335
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 89.9951 | 106.5108 | 91.8827 | 90.9617 | 90.9772 | 92.3471 | 92.1819 | 91.657 | 93.3142 | 91.7764 | 0.89567 | 91.7764 | 0.89567 | 91.7764 | 0.89567
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 61.5248 | 40.8097 | 60.7673 | 61.0229 | 60.0617 | 61.3897 | 61.5146 | 60.6597 | 58.4688 | 50.989 | -16.4429 | 58.1329 | -4.7359 | 63.1467 | 3.4805
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 147.792 | 136.228 | 144.2557 | 143.791 | 143.025 | 145.4368 | 145.4614 | 144.1883 | 143.7723 | 134.3808 | -6.5444 | 140.824 | -2.0635 | 145.9836 | 1.5248
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 85.213 | 95.4183 | 83.4825 | 82.9359 | 82.9447 | 84.208 | 84.1245 | 83.6685 | 85.2494 | 83.3918 | 0.54974 | 83.3918 | 0.54974 | 83.3918 | 0.54974
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 62.5803 | 40.8097 | 60.7731 | 60.8552 | 60.0778 | 61.2288 | 61.3369 | 60.5198 | 58.5227 | 50.989 | -16.2126 | 57.4322 | -5.6248 | 62.5918 | 2.8537
Annual Average East 30 Total Radiation Values | W/m2 |  | 184.5981 | 183.1825 | 184.7378 | 185.0767 | 184.5614 | 185.1992 | 184.9771 | 185.6877 | 184.7526 | 183.0344 | -1.1035 | 185.0178 | -0.031848 | 185.4304 | 0.1911
Annual Average East 30 Beam Radiation Values | W/m2 |  | 119.6314 | 139.9055 | 120.102 | 120.2916 | 120.3027 | 120.2297 | 119.8767 | 121.0107 | 122.6688 | 120.9118 | 0.51559 | 120.9118 | 0.51559 | 120.9118 | 0.51559
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 64.9686 | 43.277 | 64.6357 | 64.7852 | 64.2563 | 64.9694 | 65.1004 | 64.677 | 62.0837 | 62.1226 | -4.1098 | 64.106 | -1.0483 | 64.5187 | -0.41139
Annual Average South 30 Total Radiation Values | W/m2 |  | 228.2379 | 222.6775 | 227.6447 | 226.6233 | 226.1426 | 227.4802 | 226.8676 | 227.7563 | 226.6788 | 217.624 | -3.9711 | 223.4434 | -1.4032 | 223.8368 | -1.2296
Annual Average South 30 Beam Radiation Values | W/m2 |  | 156.4144 | 179.4005 | 156.4826 | 155.496 | 155.5041 | 156.021 | 155.3355 | 156.7116 | 158.9207 | 155.5014 | 0.003453 | 155.5014 | 0.003453 | 155.5014 | 0.003453
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 71.8196 | 43.277 | 71.1621 | 71.1273 | 70.6359 | 71.4593 | 71.5322 | 71.0446 | 67.7572 | 62.1226 | -12.66 | 67.942 | -4.4783 | 68.3355 | -3.9251
Annual Average West 30 Total Radiation Values | W/m2 |  | 178.1265 | 170.7053 | 174.8243 | 175.2133 | 174.899 | 175.2899 | 175.1025 | 175.7864 | 174.9934 | 173.0052 | -1.2603 | 174.0818 | -0.64582 | 174.4996 | -0.40736
Annual Average West 30 Beam Radiation Values | W/m2 |  | 112.2869 | 127.4283 | 110.2348 | 110.7021 | 110.6976 | 110.5715 | 110.2742 | 111.3606 | 112.9445 | 110.8825 | 0.163 | 110.8825 | 0.163 | 110.8825 | 0.163
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 65.839 | 43.277 | 64.5895 | 64.5113 | 64.1988 | 64.7184 | 64.8283 | 64.4257 | 62.0485 | 62.1226 | -3.7026 | 63.1992 | -2.0338 | 63.6171 | 2.528
WD600-WD100 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | Average |  | Error (%) |  | Error (%) |  | Error (%)
Annual Average Dry Bulb Temperature Values | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.96e-06 | 0 | 9.95e-07 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Relative Humidity Values | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7949e-05 | 0 | 2.2436e-06 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Humidity Ratio Values | kg moisture/kg dry air | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6383e-09 | 0 | 5.7979e-10 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Dew Point Temperature Values | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1705e-05 | 0 | 1.4631e-06 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Wet Bulb Temperature Values | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.438e-06 | 0 | 1.0548e-06 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Wind Speed Values | m/s | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3467e-05 | 0 | -1.6833e-06 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Wind Direction Values | Degrees from North | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.010722 | 0 | -0.0013402 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Station Pressure Values | mbar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Total Cloud Cover Values | tenths | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4997e-06 | 0 | 1.0625e-06 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Opaque Cloud Cover Values | tenths | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Sky Temperature Values | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1354e-05 | 0 | 1.4192e-06 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Total Horizontal Radiation Values | W/m2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00047877 | 0 | 5.9846e-05 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Horizontal Beam Radiation Values | W/m2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0003534 | 0 | 4.4175e-05 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00012537 | 0 | 1.5671e-05 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average South 90 Total Radiation Values | W/m2 |  | 19.0685 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 | 18.9084 | 19.1061 | 19.0248 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average South 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0018197 | 0 | 0.00045909 | 0 | -0.00017007 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 19.0769 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 | 18.9079 | 19.1061 | 19.0255 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average East 90 Total Radiation Values | W/m2 |  | 19.0725 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 | 18.909 | 19.1061 | 19.0254 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average East 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0011553 | 0 | 0.00014425 | 0 | -0.00012638 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 19.074 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 | 18.9089 | 19.1061 | 19.0253 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average North 90 Total Radiation Values | W/m2 |  | 19.0789 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 | 18.9099 | 19.1061 | 19.0263 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average North 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.00041894 | 0 | 0.00026471 | 0 | -1.9279e-05 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 19.0768 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 | 18.9096 | 19.1061 | 19.0257 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average West 90 Total Radiation Values | W/m2 |  | 19.0803 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 | 18.9076 | 19.1061 | 19.0262 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average West 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0011712 | 0 | 0.00037977 | 0 | -9.8934e-05 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 19.0773 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 | 18.9072 | 19.1061 | 19.0255 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 19.0719 | 18.9803 | 19.0686 | 18.9992 | 18.9993 | 19.0685 | 18.9085 | 19.1061 | 19.0253 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0014532 | 0 | 0.00014697 | 0 | -0.00016328 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 19.0695 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 | 18.9084 | 19.1061 | 19.0247 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 19.0751 | 18.9803 | 19.0686 | 18.9992 | 18.9993 | 19.0685 | 18.9072 | 19.1061 | 19.0255 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0015365 | 0 | 0.00037399 | 0 | -0.00014532 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 19.0732 | 18.9803 | 19.0686 | 18.9992 | 18.9966 | 19.0685 | 18.9068 | 19.1061 | 19.0249 | 19.0664 | 0.35407 | 19.0664 | 0.35407 | 19.0664 | 0.35407
Annual Average East 30 Total Radiation Values | W/m2 |  | 2.5567 | 2.5429 | 2.5549 | 2.5287 | 2.5286 | 2.5547 | 2.5345 | 2.5597 | 2.5451 | 2.5544 | 1.0183 | 2.5544 | 1.0183 | 2.5544 | 1.0183
Annual Average East 30 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0018642 | 0 | -8.287e-05 | 0 | -0.00024338 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 2.5525 | 2.5429 | 2.5549 | 2.5287 | 2.5261 | 2.5547 | 2.5346 | 2.5597 | 2.5443 | 2.5544 | 1.0183 | 2.5544 | 1.0183 | 2.5544 | 1.0183
Annual Average South 30 Total Radiation Values | W/m2 |  | 2.5586 | 2.5429 | 2.5549 | 2.5287 | 2.5286 | 2.5547 | 2.5341 | 2.5597 | 2.5453 | 2.5544 | 1.0183 | 2.5544 | 1.0183 | 2.5544 | 1.0183
Annual Average South 30 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0021508 | 0 | 0.00047673 | 0 | -0.00020925 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 2.5543 | 2.5429 | 2.5549 | 2.5287 | 2.5261 | 2.5547 | 2.5336 | 2.5597 | 2.5444 | 2.5544 | 1.0183 | 2.5544 | 1.0183 | 2.5544 | 1.0183
Annual Average West 30 Total Radiation Values | W/m2 |  | 2.5561 | 2.5429 | 2.5549 | 2.5287 | 2.5287 | 2.5547 | 2.5341 | 2.5597 | 2.545 | 2.5544 | 1.0183 | 2.5544 | 1.0183 | 2.5544 | 1.0183
Annual Average West 30 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.001814 | 0 | 0.00044509 | 0 | -0.00017111 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 2.5593 | 2.5429 | 2.5549 | 2.5287 | 2.5261 | 2.5547 | 2.5337 | 2.5597 | 2.545 | 2.5544 | 1.0183 | 2.5544 | 1.0183 | 2.5544 | 0.37031