## Introduction
ASHRAE Standard 140-2023, Informative Annex B8, Section B8.3 Example Results for Section 6.2 – Weather Drivers Cases WD100 through WD600
Std140_WD_Annual_Results.xlsx
Example annual average results workbook for Section 6.2 - Weather Drivers Tests Cases WD100-600
This spreadsheet along with the annual and daily results pdf files contains the Standard 140, Informative Annex B8, Section B8.3 example results.
To compare new program outputs to the example results, add new results to the Std140_WD_Output.xlsx spreadsheet (see the "Read Me" tab there) and use the Python script available at data.ashrae.org/Standard140/ to produce the table and charts with both the example results and the new results.
Computer Programs, Program Authors, and Producers of Example Results for Section 6.2 - Weather Drivers Tests Cases WD100-600
The programs used to generate the example results for Sections 6.2 are described in Table B11-3. Under the "Computer Program" column, the first entry in each cell is the proper program name and version number. The entries in parentheses are the abbreviations for the programs used in the tables and charts of the example results.
The second column ("Authoring Organization") indicates the national research facility, university, or industry organization with expertise in building science that wrote the simulation software.
The third column ("Example Results Produced By") indicates the national research facility, university, or industry organization with expertise in building science that performed the simulations. Most of the organizations that performed simulations are members of the development team for the simulation model that they ran.
See Standard 140, Annex B11, Section B11.3 for further details.
TABLE B11-3
Computer Programs, Program Authors, and Producers of Example Results
Computer Program (Abbrev.) | Authoring Organization | Example Results Produced by
Source TMY3 Weather File (Actual) | Provided in the accompanying files
BSIMAC 9, Version 9.0.75 (BSIMAC) | Alec Johannsen Consulting Engineers, South Africa | Alec Johannsen Consulting Engineers, South Africa
California Simulation Engine, Version 0.875.0 (CSE) | J.R. Barnaby/C.S. Barnaby/Big Ladder Software LLC/Wrightsoft Corp., United States | Big Ladder Software LLC, United States
DeST 2.0, Version 190709 (DeST) | Tsinghua University, China | Beijing University of Civil Engineering and Architecture/Southeast University/Tsinghua University, China
EnergyPlus, Version 9.5.0 (EnergyPlus) | U.S. Department of Energy, Building Technologies Office, United States | GARD Analytics, Inc., United States
ESP-r, Version 13.3.9 (ESP-r) | University of Strathclyde, United Kingdom | University of Strathclyde, United Kingdom
IBPSA Project 1, Version v4.0.0dev (IBPSA) | Lawrence Berkeley National Laboratory, United States | Lawrence Berkeley National Laboratory, United States
IDA ICE, Version 4.8 SP2 (IDA ICE) | EQUA Simulation AB, Sweden | EQUA Simulation AB, Sweden
TRNSYS, Version 18.03.0002 (TRNSYS) | Solar Energy Laboratory, University of Wisconsin, United States; Thermal Energy System Specialists, LLC, United States | Thermal Energy System Specialists, LLC, United States

## Annual Average Results
ASHRAE Standard 140-2023, Informative Annex B8, Section B8.3 Example Results for Section 6.2 – Weather Drivers Cases WD100 through WD600
ASHRAE Standard 140-2023
Informative Annex B8
Example Results for Section 6.2 - Weather Drivers Cases WD100-WD600
WD100 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 10.8787 | 10.8787 | 10.8787 | 10.8787 | 10.8765 | 10.876 | 10.8762 | 10.8756 | 10.8756 | 10.8753 | -0.010524
Annual Average Relative Humidity Values | % | 49.6147 | 49.6147 | 49.582 | 49.5855 | 49.6167 | 49.6179 | 49.6177 | 49.6183 | 49.6182 | 49.6185 | 0.0035777
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0049371 | 0.0049732 | 0.0049128 | 0.0049253 |  | 0.0049215 | 0.0049661 | 0.0049252 | 0.0049167 | -0.17421
Annual Average Dew Point Temperature Values | C | -1.064 | -1.064 | -1.064 | -1.0633 | -1.0655 |  | -1.0656 | -0.8632 | -1.066 | -1.06 | -0.51635
Annual Average Wet Bulb Temperature Values | C |  | 4.9213 | 4.9046 | 4.905 | 4.8883 | 5.4504 | 4.9085 | 4.9541 | 4.925 | 4.8748 | -0.27736
Annual Average Wind Speed Values | m/s | 3.917 | 3.917 | 3.9266 | 3.917 | 3.917 | 3.916 | 3.9175 | 3.7677 | 3.9166 | 3.9165 | -0.010808
Annual Average Wind Direction Values | Degrees from North | 179.2556 | 179.2556 | 179.2556 | 157.649 | 174.3587 | 179.2384 | 179.265 | 178.7877 | 179.2368 | 179.2352 | 2.7968
Annual Average Station Pressure Values | mbar | 834.6008 | 834.6008 | 830.11 | 834.6008 | 834.6003 | 834.6096 | 834.601 | 835.94 | 834.6012 | 834.6013 | 0.00011831
Annual Average Total Cloud Cover Values | tenths | 5.0893 | 5.0893 | 5.0893 |  | 5.089 | 5.089 | 5.0891 | 5.0889 | 5.089 | 5.0889 | -0.00071868
Annual Average Opaque Cloud Cover Values | tenths | 4.3748 | 4.3748 |  |  | 4.3745 | 4.3745 | 4.375 |  | 4.3745 | 4.3744 | -0.0005253 | 10.8753 | 16.6529 | 15.0485 | -11.8168 | 25.5512 | 10.8753
Annual Average Sky Temperature Values | C |  | -4.147 | -3.9262 | -2.0219 | -2.0164 | -5.1503 | -2.0316 | -1.3101 | -5.0592 | -1.985 | -1.5559 | 49.6185 | 65.7361 | 62.8279 | 84.1939 | 59.7321 | 49.6185
Annual Average Total Horizontal Radiation Values | W/m2 | 190.6862 | 190.6125 | 189.8032 | 190.2955 | 189.9923 | 189.9948 | 189.7144 | 189.1071 | 191.061 | 190.6644 | 0.35375 | 0.0049167 | 0.0089858 | 0.0066177 | 0.0018795 | 0.012669 | 0.0049167
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 127.1395 | 146.1446 | 126.7727 | 126.6637 | 126.6648 | 126.2455 | 125.6679 | 127.5543 | 127.1164 | 0.35746 | -1.06 | 9.4758 | 6.7515 | -13.7749 | 15.5373 | -1.06
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 63.5291 | 63.473 | 43.6587 | 63.5228 | 63.3286 | 63.3324 | 63.4689 | 63.4392 | 63.5067 | 63.5479 | 0.34634 | 4.8748 | 12.6728 | 10.3714 | -12.2652 | 19.1378 | 4.8748
Annual Average South 90 Total Radiation Values | W/m2 |  | 139.424 | 131.3777 | 138.9462 | 137.4583 | 136.5992 | 139.5724 | 139.4691 | 137.9898 | 127.4005 | -7.317 | 3.9165 | 4.0383 | 2.8575 | 5.4444 | 2.3815 | 3.9165
Annual Average South 90 Beam Radiation Values | W/m2 |  | 95.6187 | 109.5484 | 96.5124 | 94.9425 | 94.9597 | 96.639 | 96.3335 | 95.7897 | 95.6265 | 0.72047 | 179.2352 | 198.9292 | 175.4694 | 139.4475 | 200.1427 | 179.2352
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 43.7997 | 21.8293 | 42.4338 | 42.5159 | 41.6413 | 42.9334 | 43.1355 | 42.2001 | 31.774 | -25.2656 | 834.6013 | 981.7305 | 959.0621 | 1014.5718 | 985.7235 | 834.6013
Annual Average East 90 Total Radiation Values | W/m2 |  | 102.1088 | 98.269 | 101.7602 | 102.2544 | 101.3306 | 103.1205 | 103.5688 | 102.117 | 97.0258 | -5.1134 | 5.0889 | 5.3444 | 3.908 | 6.8417 | 3.5234 | 5.0889
Annual Average East 90 Beam Radiation Values | W/m2 |  | 63.6505 | 76.4396 | 64.1642 | 64.2214 | 64.2398 | 64.9405 | 65.0534 | 64.6043 | 65.2518 | 1.6045 | 4.3744 | 4.5338 | 3.908 | 5.9676 | 3.5234 | 4.3744
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 38.459 | 21.8293 | 37.5959 | 38.033 | 37.092 | 38.18 | 38.5154 | 37.5127 | 31.774 | -16.4569 | -1.985 | 6.3606 | 3.4309 | -24.9127 | 15.1835 | -1.985
Annual Average North 90 Total Radiation Values | W/m2 |  | 32.7027 | 26.577 | 30.6881 | 31.0287 | 30.3337 | 31.2085 | 31.5337 | 30.8922 | 35.585 | 14.6841 | 190.6644 | 192.4505 | 218.1083 | 81.4433 | 220.0592 | 190.6644
Annual Average North 90 Beam Radiation Values | W/m2 |  | 3.8335 | 4.7477 | 3.6188 | 3.9341 | 3.9317 | 3.9784 | 4.1589 | 3.8613 | 3.811 | -3.1296 | 127.1164 | 110.0189 | 143.4242 | 28.7213 | 141.6578 | 127.1164
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 28.8704 | 21.8293 | 27.0693 | 27.0946 | 26.4024 | 27.2302 | 27.3748 | 27.0309 | 31.774 | 17.2706 | 63.5479 | 82.4315 | 74.6841 | 52.7219 | 78.4015 | 63.5479
Annual Average West 90 Total Radiation Values | W/m2 |  | 94.8463 | 84.1215 | 90.945 | 91.4225 | 90.7373 | 92.2945 | 92.756 | 91.4336 | 85.9327 | -6.0048 | 127.4005 | 108.6508 | 40.4137 | 65.1824 | 121.9895 | 146.4669
Annual Average West 90 Beam Radiation Values | W/m2 |  | 55.5527 | 62.2921 | 53.45 | 53.7699 | 53.7721 | 54.4726 | 54.6175 | 54.2335 | 54.1588 | 0.72331 | 95.6265 | 67.435 | 3.0716 | 38.8215 | 82.7888 | 95.6265
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 39.2971 | 21.8293 | 37.4951 | 37.6527 | 36.9665 | 37.8219 | 38.1385 | 37.2001 | 31.774 | -15.6129 | 31.774 | 41.2158 | 37.3421 | 26.361 | 39.2007 | 50.8404
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 132.4531 | 128.3401 | 133.5814 | 132.9854 | 132.0422 | 134.6683 | 134.7879 | 133.2107 | 123.8074 | -6.9015 | 97.0258 | 90.6932 | 89.8406 | 47.4199 | 92.2357 | 116.0922
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 89.9951 | 106.5108 | 91.8827 | 90.9617 | 90.9787 | 92.3471 | 92.1817 | 91.657 | 92.0334 | 1.1782 | 65.2518 | 49.4774 | 52.4985 | 21.0589 | 53.0349 | 65.2518
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 42.4553 | 21.8293 | 41.6986 | 42.0237 | 41.065 | 42.3212 | 42.6062 | 41.5536 | 31.774 | -24.3903 | 31.774 | 41.2158 | 37.3421 | 26.361 | 39.2007 | 50.8404
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 128.7169 | 117.2477 | 125.1871 | 124.7919 | 124.0257 | 126.3683 | 126.5542 | 125.0822 | 115.0249 | -7.8266 | 35.585 | 43.9253 | 110.3433 | 31.7016 | 41.5367 | 54.6514
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 85.213 | 95.4183 | 83.4825 | 82.9359 | 82.9462 | 84.208 | 84.1241 | 83.6685 | 83.2509 | 0.3798 | 3.811 | 2.7095 | 73.0012 | 5.3407 | 2.3359 | 3.811
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 43.5071 | 21.8293 | 41.7045 | 41.856 | 41.0812 | 42.1603 | 42.4301 | 41.4137 | 31.774 | -24.0874 | 31.774 | 41.2158 | 37.3421 | 26.361 | 39.2007 | 50.8404
Annual Average East 30 Total Radiation Values | W/m2 |  | 182.0414 | 180.6396 | 182.1829 | 182.5481 | 182.0328 | 182.6445 | 182.4426 | 183.128 | 180.218 | -1.2764 | 85.9327 | 87.7086 | 94.2275 | 48.5944 | 93.2681 | 104.9992
Annual Average East 30 Beam Radiation Values | W/m2 |  | 119.6314 | 139.9055 | 120.102 | 120.2916 | 120.3046 | 120.2297 | 119.8768 | 121.0107 | 120.927 | 0.52824 | 54.1588 | 46.4928 | 56.8854 | 22.2335 | 54.0674 | 54.1588
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 62.4161 | 40.7341 | 62.0808 | 62.2565 | 61.7302 | 62.4147 | 62.5658 | 62.1173 | 59.291 | -4.7633 | 31.774 | 41.2158 | 37.3421 | 26.361 | 39.2007 | 50.8404
Annual Average South 30 Total Radiation Values | W/m2 |  | 225.6793 | 220.1346 | 225.0898 | 224.0947 | 223.6139 | 224.9255 | 224.3336 | 225.1965 | 215.5637 | -3.8069 | 123.8074 | 107.6951 | 59.61 | 59.3198 | 115.0845 | 142.8738
Annual Average South 30 Beam Radiation Values | W/m2 |  | 156.4144 | 179.4005 | 156.4826 | 155.496 | 155.5063 | 156.021 | 155.335 | 156.7116 | 156.2726 | 0.49946 | 92.0334 | 66.4793 | 22.268 | 32.9589 | 75.8837 | 92.0334
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 69.2653 | 40.7341 | 68.6072 | 68.5987 | 68.1097 | 68.9046 | 68.9986 | 68.4849 | 59.291 | -13.5682 | 31.774 | 41.2158 | 37.3421 | 26.361 | 39.2007 | 50.8404
Annual Average West 30 Total Radiation Values | W/m2 |  | 175.5704 | 168.1624 | 172.2694 | 172.6847 | 172.3703 | 172.7352 | 172.5683 | 173.2267 | 170.1538 | -1.4656 | 115.0249 | 105.0631 | 61.3218 | 60.9489 | 116.6232 | 134.0913
Annual Average West 30 Beam Radiation Values | W/m2 |  | 112.2869 | 127.4283 | 110.2348 | 110.7021 | 110.6994 | 110.5715 | 110.2738 | 111.3606 | 110.8628 | 0.14515 | 83.2509 | 63.8473 | 23.9797 | 34.588 | 77.4225 | 83.2509
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 63.2797 | 40.7341 | 62.0346 | 61.9826 | 61.6727 | 62.1637 | 62.2946 | 61.866 | 59.291 | -4.3424 | 31.774 | 41.2158 | 37.3421 | 26.361 | 39.2007 | 50.8404
[13 empty] | 180.218 | 177.672 | 194.5551 | 76.6114 | 198.0475 | 182.7724
WD200 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | OpenSimula | Error (%) | 120.927 | 100.7623 | 124.8739 | 27.4212 | 124.898 | 120.927
Annual Average Dry Bulb Temperature Values | C | 16.6539 | 16.6539 | 16.6539 | 16.6539 | 16.6531 | 16.6532 | 16.6534 | 16.6535 | 16.653 | 16.6529 | -0.0013256 | 59.291 | 76.9096 | 69.6812 | 49.1902 | 73.1496 | 61.8455
Annual Average Relative Humidity Values | % | 65.734 | 65.734 | 65.1463 | 65.1447 | 65.7356 | 65.7356 | 65.7344 | 65.7345 | 65.7358 | 65.7361 | 0.0007457 | 215.5637 | 204.638 | 159.3659 | 92.0775 | 236.0634 | 218.1181
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0089943 | 0.0090279 | 0.008948 | 0.0089912 |  | 0.0089908 | 0.0091202 | 0.0089909 | 0.0089858 | -0.060485 | 156.2726 | 127.7283 | 89.6846 | 42.8873 | 162.9138 | 156.2726
Annual Average Dew Point Temperature Values | C | 9.3126 | 9.3126 | 9.3126 | 9.3131 | 9.3123 |  | 9.3125 | 9.5574 | 9.3123 | 9.4758 | 1.7553 | 59.291 | 76.9096 | 69.6812 | 49.1902 | 73.1496 | 61.8455
Annual Average Wet Bulb Temperature Values | C |  | 12.6793 | 12.6246 | 12.6122 | 12.6789 | 13.0238 | 12.6814 | 12.6785 | 12.687 | 12.6728 | -0.047691 | 170.1538 | 174.7272 | 198.4857 | 77.6914 | 198.9458 | 172.7082
Annual Average Wind Speed Values | m/s | 4.0382 | 4.0382 | 4.0472 | 4.0382 | 4.0382 | 4.0376 | 4.0391 | 3.9559 | 4.0383 | 4.0383 | 0.0010931 | 110.8628 | 97.8175 | 128.8044 | 28.5012 | 125.7962 | 110.8628
Annual Average Wind Direction Values | Degrees from North | 198.924 | 198.924 | 198.924 | 190.5462 | 200.0927 | 198.9274 | 198.9759 | 204.4563 | 198.9283 | 198.9292 | -0.58146 | 59.291 | 76.9096 | 69.6812 | 49.1902 | 73.1496 | 61.8455
Annual Average Station Pressure Values | mbar | 981.7305 | 981.7305 | 976.786 | 981.7305 | 981.7311 | 981.7366 | 981.731 | 977.51 | 981.7305 | 981.7305 | -6.747e-05
Annual Average Total Cloud Cover Values | tenths | 5.3439 | 5.3439 | 5.3439 |  | 5.3443 | 5.3443 | 5.3439 | 5.3444 | 5.3444 | 5.3444 | 0.0016574
Annual Average Opaque Cloud Cover Values | tenths | 4.5332 | 4.5332 |  |  | 4.5337 | 4.5337 | 4.5337 |  | 4.5337 | 4.5338 | 0.002294
Annual Average Sky Temperature Values | C |  | 5.7361 | 6.0205 | 6.2812 | 6.2885 | 5.1388 | 6.2695 | 7.0874 | 5.116 | 6.3606 | 1.1462
Annual Average Total Horizontal Radiation Values | W/m2 | 192.4724 | 192.1451 | 185.9209 | 192.1848 | 191.4355 | 191.3734 | 191.5941 | 191.0339 | 193.0851 | 192.4505 | 0.53018
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 110.0474 | 125.5307 | 109.8388 | 109.5207 | 109.4598 | 109.305 | 108.7833 | 110.7441 | 110.0189 | 0.45489
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 82.3596 | 82.0977 | 60.3902 | 82.3461 | 81.9148 | 81.916 | 82.2891 | 82.2506 | 82.341 | 82.4315 | 0.63084
Annual Average South 90 Total Radiation Values | W/m2 |  | 114.9143 | 107.5646 | 116.0414 | 112.9475 | 112.8237 | 114.7526 | 114.7285 | 113.7771 | 108.6508 | -3.8042
Annual Average South 90 Beam Radiation Values | W/m2 |  | 67.3585 | 77.3695 | 68.6901 | 67.0496 | 67.0835 | 68.4116 | 68.178 | 67.88 | 67.435 | 0.57477
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 47.5543 | 30.1951 | 47.3513 | 45.8979 | 45.7419 | 46.341 | 46.5506 | 45.897 | 41.2158 | -10.2011
Annual Average East 90 Total Radiation Values | W/m2 |  | 92.3174 | 62.8448 | 93.159 | 91.8177 | 91.6572 | 92.4338 | 92.8867 | 92.1495 | 90.6932 | -1.2247
Annual Average East 90 Beam Radiation Values | W/m2 |  | 48.1506 | 32.6498 | 49.1782 | 48.8601 | 48.8363 | 49.3018 | 49.3692 | 49.3708 | 49.4774 | 1.2635
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 44.1671 | 30.1951 | 43.9808 | 42.9576 | 42.8221 | 43.132 | 43.5175 | 42.7787 | 41.2158 | -4.0548
Annual Average North 90 Total Radiation Values | W/m2 |  | 36.4031 | 35.7874 | 35.4928 | 34.4596 | 34.3302 | 34.57 | 34.9078 | 34.3734 | 43.9253 | 27.469
Annual Average North 90 Beam Radiation Values | W/m2 |  | 2.5925 | 5.5924 | 2.5557 | 2.6769 | 2.6837 | 2.6014 | 2.7553 | 2.566 | 2.7095 | 1.2192
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 33.8059 | 30.1951 | 32.937 | 31.7827 | 31.6471 | 31.9687 | 32.1525 | 31.8074 | 41.2158 | 29.6798
Annual Average West 90 Total Radiation Values | W/m2 |  | 92.5736 | 119.5859 | 91.0005 | 89.6831 | 89.5492 | 90.3927 | 90.8664 | 90.0525 | 87.7086 | -2.2017
Annual Average West 90 Beam Radiation Values | W/m2 |  | 46.6094 | 89.3908 | 45.9928 | 45.7783 | 45.7694 | 46.2334 | 46.3226 | 46.2218 | 46.4928 | 1.5607
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 45.9681 | 30.1951 | 45.0078 | 43.9047 | 43.781 | 44.1594 | 44.5437 | 43.8307 | 41.2158 | -6.1246
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 112.1572 | 84.4895 | 114.2117 | 111.8032 | 111.6636 | 113.1369 | 113.3431 | 112.4757 | 107.6951 | -3.6744
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 65.0474 | 54.2944 | 67.0141 | 65.8441 | 65.8541 | 66.8606 | 66.7558 | 66.6354 | 66.4793 | 0.96481
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 47.1146 | 30.1951 | 47.1977 | 45.9591 | 45.811 | 46.2763 | 46.5874 | 45.8402 | 41.2158 | -10.3208
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 113.6357 | 131.8241 | 112.5184 | 110.2278 | 110.1033 | 111.5546 | 111.8068 | 110.8598 | 105.0631 | -4.6855
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 64.498 | 101.6291 | 64.1839 | 63.1965 | 63.2119 | 64.157 | 64.0975 | 63.8696 | 63.8473 | 1.0298
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 49.1345 | 30.1951 | 48.3345 | 47.0313 | 46.893 | 47.3976 | 47.7094 | 46.9901 | 41.2158 | -12.3652
Annual Average East 30 Total Radiation Values | W/m2 |  | 178.1151 | 152.5254 | 178.9677 | 177.9348 | 177.7933 | 178.1664 | 178.0296 | 179.082 | 177.672 | -0.1477
Annual Average East 30 Beam Radiation Values | W/m2 |  | 99.7695 | 96.1806 | 100.4486 | 100.1842 | 100.1256 | 100.0973 | 99.7908 | 101.1673 | 100.7623 | 0.57708
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 78.3474 | 56.3448 | 78.5191 | 77.7506 | 77.6696 | 78.0691 | 78.2388 | 77.9146 | 76.9096 | -1.0816
Annual Average South 30 Total Radiation Values | W/m2 |  | 212.779 | 201.8836 | 213.3473 | 211.2818 | 211.1442 | 212.2694 | 211.7294 | 213.0305 | 204.638 | -3.1445
Annual Average South 30 Beam Radiation Values | W/m2 |  | 127.7625 | 145.5388 | 128.2431 | 127.1498 | 127.1099 | 127.6682 | 127.0527 | 128.6359 | 127.7283 | 0.45501
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 85.0213 | 56.3448 | 85.1042 | 84.132 | 84.0365 | 84.6012 | 84.6766 | 84.3945 | 76.9096 | -8.5845
Annual Average West 30 Total Radiation Values | W/m2 |  | 178.3434 | 194.0211 | 176.8415 | 175.8404 | 175.722 | 176.1058 | 175.9899 | 176.9397 | 174.7272 | -0.63307
Annual Average West 30 Beam Radiation Values | W/m2 |  | 98.2955 | 137.6763 | 97.3959 | 97.2235 | 97.1761 | 97.1194 | 96.8452 | 98.0889 | 97.8175 | 0.61102
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 80.0476 | 56.3448 | 79.4456 | 78.6169 | 78.5478 | 78.9863 | 79.1448 | 78.8508 | 76.9096 | -2.1716
WD300 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 15.0484 | 15.0484 | 15.0484 | 15.0484 | 15.0485 | 15.0486 | 15.0485 | 15.0485 | 15.0485 | 15.0485 | -0.00015363
Annual Average Relative Humidity Values | % | 62.8268 | 62.8268 | 62.8513 | 62.8468 | 62.8265 | 62.8276 | 62.8259 | 62.8272 | 62.8277 | 62.8279 | 0.0022336
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0066495 | 0.0066602 | 0.0066166 | 0.0066233 |  | 0.0066217 | 0.0066984 | 0.0066233 | 0.0066177 | -0.085593
Annual Average Dew Point Temperature Values | C | 6.7541 | 6.7541 | 6.7541 | 6.7543 | 6.7542 |  | 6.7543 | 6.7838 | 6.7545 | 6.7515 | -0.040423
Annual Average Wet Bulb Temperature Values | C |  | 10.3589 | 10.3595 | 10.3349 | 10.3786 | 10.7815 | 10.3714 | 10.3597 | 10.3794 | 10.3714 | -0.069656
Annual Average Wind Speed Values | m/s | 2.8575 | 2.8575 | 2.8671 | 2.8575 | 2.8574 | 2.8571 | 2.8577 | 2.7089 | 2.8575 | 2.8575 | 0.0063207
Annual Average Wind Direction Values | Degrees from North | 175.4695 | 175.4695 | 175.4695 | 157.825 | 173.2553 | 175.4697 | 175.4587 | 172.1056 | 175.4695 | 175.4694 | 1.2779
Annual Average Station Pressure Values | mbar | 959.0622 | 959.0701 | 957.582 | 959.0622 | 959.0621 | 959.0793 | 959.0621 | 958.78 | 959.0621 | 959.0621 | -2.2079e-06
Annual Average Total Cloud Cover Values | tenths | 3.9078 | 3.9078 | 3.9078 |  | 3.9077 | 3.9079 | 3.9135 | 3.9075 | 3.908 | 3.908 | 0.006496
Annual Average Opaque Cloud Cover Values | tenths | 3.9078 | 3.9078 |  |  | 3.9077 | 3.9079 | 3.9135 |  | 3.908 | 3.908 | 0.006496
Annual Average Sky Temperature Values | C |  | 1.9893 | 1.1173 | 3.4063 | 3.4169 | 1.1352 | 3.4184 | 3.422 | 1.1457 | 3.4309 | 0.40995
Annual Average Total Horizontal Radiation Values | W/m2 | 218.1332 | 218.1331 | 204.8946 | 218.0357 | 217.2458 | 217.1811 | 218.7752 | 214.3132 | 218.5768 | 218.1083 | 0.39702
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 143.4406 | 158.4678 | 143.3301 | 142.7592 | 142.6945 | 144.0941 | 139.6706 | 143.8919 | 143.4242 | 0.46583
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 74.6927 | 74.6925 | 46.4268 | 74.7055 | 74.4866 | 74.4852 | 74.6812 | 74.6426 | 74.6848 | 74.6841 | 0.26515
Annual Average South 90 Total Radiation Values | W/m2 |  | 34.77 | 32.7789 | 33.1089 | 32.6953 | 32.5645 | 32.6305 | 32.42 | 32.3033 | 40.4137 | 23.6068
Annual Average South 90 Beam Radiation Values | W/m2 |  | 3.0957 | 9.5655 | 3.1454 | 3.288 | 3.2698 | 3.1909 | 2.8315 | 3.0085 | 3.0716 | -6.582
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 31.6751 | 23.2134 | 29.9635 | 29.4073 | 29.292 | 29.4396 | 29.5884 | 29.2948 | 37.3421 | 26.9822
Annual Average East 90 Total Radiation Values | W/m2 |  | 93.2888 | 53.7362 | 93.5092 | 94.0105 | 93.9172 | 93.7044 | 94.5684 | 93.1979 | 89.8406 | -4.4356
Annual Average East 90 Beam Radiation Values | W/m2 |  | 51.1345 | 30.5228 | 52.1767 | 52.7296 | 52.7357 | 52.616 | 52.7858 | 52.4882 | 52.4985 | -0.43816
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 42.155 | 23.2134 | 41.3325 | 41.2809 | 41.1788 | 41.0884 | 41.7826 | 40.7096 | 37.3421 | -9.5416
Annual Average North 90 Total Radiation Values | W/m2 |  | 119.0466 | 107.0361 | 116.8023 | 117.7413 | 117.728 | 116.7048 | 125.5103 | 118.0836 | 110.3433 | -6.2833
Annual Average North 90 Beam Radiation Values | W/m2 |  | 72.9254 | 83.8227 | 71.5671 | 72.5966 | 72.6941 | 71.7543 | 78.2466 | 73.103 | 73.0012 | 0.55735
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 46.1209 | 23.2134 | 45.2352 | 45.1447 | 45.0313 | 44.9506 | 47.2637 | 44.9807 | 37.3421 | -17.2836
Annual Average West 90 Total Radiation Values | W/m2 |  | 101.8549 | 148.5763 | 98.397 | 99.3556 | 99.2389 | 98.9645 | 99.8592 | 98.5689 | 94.2275 | -5.1614
Annual Average West 90 Beam Radiation Values | W/m2 |  | 58.3818 | 125.3629 | 56.2619 | 57.1293 | 57.1312 | 56.9345 | 57.0918 | 56.8942 | 56.8854 | -0.42695
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 43.4755 | 23.2134 | 42.1351 | 42.2263 | 42.1051 | 42.0299 | 42.7674 | 41.6748 | 37.3421 | -11.5667
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 58.3788 | 33.4115 | 56.9156 | 56.6278 | 56.5045 | 56.6629 | 55.6018 | 55.8787 | 59.61 | 5.2664
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 22.3416 | 10.1981 | 22.4183 | 22.5024 | 22.4858 | 22.5813 | 21.4084 | 22.1263 | 22.268 | -1.0419
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 36.0416 | 23.2134 | 34.4973 | 34.1254 | 34.0164 | 34.0816 | 34.1934 | 33.7524 | 37.3421 | 9.426
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 60.2382 | 90.291 | 58.5905 | 58.8442 | 58.6984 | 58.7458 | 57.6657 | 58.1045 | 61.3218 | 4.2105
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 24.0393 | 67.0776 | 23.8834 | 24.3611 | 24.3293 | 24.3266 | 23.1143 | 23.9811 | 23.9797 | -1.5656
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 36.2012 | 23.2134 | 34.7071 | 34.483 | 34.3665 | 34.4192 | 34.5513 | 34.1233 | 37.3421 | 8.2912
Annual Average East 30 Total Radiation Values | W/m2 |  | 195.9035 | 155.6156 | 196.8118 | 196.4863 | 196.3889 | 197.3699 | 194.0763 | 196.8091 | 194.5551 | -0.98288
Annual Average East 30 Beam Radiation Values | W/m2 |  | 123.5143 | 112.2988 | 124.805 | 124.6841 | 124.6377 | 125.5008 | 122.0463 | 125.1548 | 124.8739 | 0.1522
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 72.3908 | 43.3168 | 72.0068 | 71.8022 | 71.7486 | 71.8691 | 72.03 | 71.6542 | 69.6812 | -2.9539
Annual Average South 30 Total Radiation Values | W/m2 |  | 154.7177 | 145.7953 | 154.3228 | 153.1424 | 152.9592 | 154.6787 | 146.991 | 153.4976 | 159.3659 | 4.0639
Annual Average South 30 Beam Radiation Values | W/m2 |  | 89.8002 | 102.4785 | 90.3381 | 89.7064 | 89.5935 | 90.9536 | 84.1806 | 89.9903 | 89.6846 | -0.024292
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 64.9164 | 43.3168 | 63.9847 | 63.4359 | 63.3633 | 63.7251 | 62.8105 | 63.5073 | 69.6812 | 9.845
Annual Average West 30 Total Radiation Values | W/m2 |  | 203.9534 | 228.0871 | 201.2219 | 201.1696 | 201.0464 | 202.0289 | 198.6991 | 201.5508 | 198.4857 | -1.3342
Annual Average West 30 Beam Radiation Values | W/m2 |  | 130.3077 | 184.7703 | 128.4903 | 128.5681 | 128.5149 | 129.3524 | 125.8472 | 129.0717 | 128.8044 | 0.18379
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 73.6446 | 43.3168 | 72.7316 | 72.6015 | 72.529 | 72.6765 | 72.8519 | 72.479 | 69.6812 | -4.0223
WD400 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | -11.816 | -11.816 | -11.816 | -11.816 | -11.8165 | -11.8167 | -11.8166 | -11.8169 | -11.8168 | -11.8168 | 0.0028982
Annual Average Relative Humidity Values | % | 84.1941 | 84.1941 | 82.1494 | 82.1522 | 84.1941 | 84.194 | 84.1926 | 84.1938 | 84.194 | 84.1939 | -0.0002153
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0018644 | 0.0018662 | 0.0018555 | 0.0018795 |  | 0.0018799 | 0.0018701 | 0.0018794 | 0.0018795 | -0.0021254
Annual Average Dew Point Temperature Values | C | -14.0507 | -14.0507 | -14.0507 | -14.0504 | -14.0461 |  | -14.0513 | -13.7489 | -14.0515 | -13.7749 | -1.9307
Annual Average Wet Bulb Temperature Values | C |  | -12.2454 | -12.2898 | -12.2834 | -12.2643 | -12.0345 | -12.2754 | -12.2386 | -12.2639 | -12.2652 | 0.0078679
Annual Average Wind Speed Values | m/s | 5.4435 | 5.4435 | 5.4461 | 5.4435 | 5.4441 | 5.4438 | 5.4443 | 5.4139 | 5.4443 | 5.4444 | 0.0045132
Annual Average Wind Direction Values | Degrees from North | 139.4548 | 139.4548 | 139.4548 | 128.4663 | 135.7585 | 139.4488 | 139.4551 | 137.5076 | 139.4481 | 139.4475 | 2.7173
Annual Average Station Pressure Values | mbar | 1014.5711 | 1014.5711 | 1012.04 | 1014.5711 | 1014.5714 | 1014.5763 | 1014.5717 | 1012.07 | 1014.5718 | 1014.5718 | 3.7684e-05
Annual Average Total Cloud Cover Values | tenths | 6.8413 | 6.8413 | 6.8413 |  | 6.8416 | 6.8416 | 6.8413 | 6.8416 | 6.8416 | 6.8417 | 0.00087832
Annual Average Opaque Cloud Cover Values | tenths | 5.9671 | 5.9671 |  |  | 5.9675 | 5.9675 | 5.9664 |  | 5.9675 | 5.9676 | 0.0012857
Annual Average Sky Temperature Values | C |  | -23.7353 | -23.5114 | -25.0208 | -25.0148 | -24.9478 | -25.035 | -24.1851 | -24.9541 | -24.9127 | -0.40812
Annual Average Total Horizontal Radiation Values | W/m2 | 81.4526 | 81.1701 | 75.5953 | 81.0375 | 81.147 | 81.2377 | 80.7828 | 80.9265 | 81.5896 | 81.4433 | 0.36507
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 28.6946 | 30.7349 | 28.407 | 28.5243 | 28.6121 | 28.1464 | 28.3039 | 28.9 | 28.7213 | 0.69092
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 52.7065 | 52.4755 | 44.8603 | 52.6304 | 52.6228 | 52.6239 | 52.6364 | 52.6227 | 52.6896 | 52.7219 | 0.18845
Annual Average South 90 Total Radiation Values | W/m2 |  | 76.5888 | 61.4499 | 76.041 | 74.4285 | 74.404 | 75.4825 | 75.3316 | 75.2513 | 65.1824 | -12.4227
Annual Average South 90 Beam Radiation Values | W/m2 |  | 39.591 | 39.0197 | 38.2299 | 39.3722 | 39.3458 | 39.8415 | 39.6178 | 40.0167 | 38.8215 | -1.3987
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 37.0043 | 22.4302 | 37.8112 | 35.0563 | 35.0556 | 35.6411 | 35.7138 | 35.2347 | 26.361 | -24.8039
Annual Average East 90 Total Radiation Values | W/m2 |  | 53.0107 | 32.4988 | 52.0955 | 50.7947 | 50.8132 | 51.1828 | 51.2014 | 51.1053 | 47.4199 | -6.644
Annual Average East 90 Beam Radiation Values | W/m2 |  | 21.2346 | 10.0686 | 20.6635 | 21.41 | 21.4172 | 21.5499 | 21.5665 | 21.7054 | 21.0589 | -1.6398
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 31.7775 | 22.4302 | 31.432 | 29.3847 | 29.3934 | 29.6329 | 29.6349 | 29.3999 | 26.361 | -10.2901
Annual Average North 90 Total Radiation Values | W/m2 |  | 31.158 | 37.1218 | 30.2517 | 29.1529 | 29.157 | 29.1121 | 29.2541 | 29.1639 | 31.7016 | 8.7425
Annual Average North 90 Beam Radiation Values | W/m2 |  | 4.8845 | 14.6917 | 4.6573 | 5.3453 | 5.3518 | 5.3246 | 5.4123 | 5.2903 | 5.3407 | -0.087026
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 26.2745 | 22.4302 | 25.5944 | 23.8076 | 23.8026 | 23.7875 | 23.8418 | 23.8736 | 26.361 | 10.725
Annual Average West 90 Total Radiation Values | W/m2 |  | 54.7819 | 74.4611 | 53.6198 | 52.2226 | 52.2471 | 52.6687 | 52.6867 | 52.4907 | 48.5944 | -6.9474
Annual Average West 90 Beam Radiation Values | W/m2 |  | 22.3373 | 52.0309 | 21.6159 | 22.3607 | 22.3768 | 22.5332 | 22.5335 | 22.6075 | 22.2335 | -0.56891
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 32.4447 | 22.4302 | 32.0038 | 29.8619 | 29.8676 | 30.1355 | 30.1531 | 29.8832 | 26.361 | -11.7237
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 68.7802 | 44.3884 | 68.2258 | 66.7007 | 66.6874 | 67.5053 | 67.417 | 67.3747 | 59.3198 | -11.0657
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 33.4697 | 21.9582 | 32.4893 | 33.4684 | 33.4521 | 33.8048 | 33.6819 | 34.0164 | 32.9589 | -1.5225
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 35.3166 | 22.4302 | 35.7365 | 33.2323 | 33.2328 | 33.7005 | 33.7351 | 33.3583 | 26.361 | -20.6766
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 71.1855 | 75.9541 | 70.2814 | 68.6746 | 68.6779 | 69.5561 | 69.446 | 69.3383 | 60.9489 | -11.2497
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 35.1933 | 53.524 | 33.9408 | 34.8989 | 34.894 | 35.2794 | 35.124 | 35.4292 | 34.588 | -0.89088
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 35.9993 | 22.4302 | 36.3406 | 33.7757 | 33.7813 | 34.2767 | 34.322 | 33.909 | 26.361 | -21.953
Annual Average East 30 Total Radiation Values | W/m2 |  | 78.0381 | 60.565 | 77.6643 | 77.0307 | 77.0835 | 76.9567 | 77.0837 | 77.4256 | 76.6114 | -0.54424
Annual Average East 30 Beam Radiation Values | W/m2 |  | 27.3915 | 18.7097 | 27.0688 | 27.4582 | 27.5099 | 27.2624 | 27.3849 | 27.833 | 27.4212 | -0.13455
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 50.6419 | 41.8553 | 50.5955 | 49.5725 | 49.571 | 49.6943 | 49.6988 | 49.5925 | 49.1902 | -0.77117
Annual Average South 30 Total Radiation Values | W/m2 |  | 98.7968 | 85.5171 | 98.5515 | 97.7217 | 97.7895 | 98.0199 | 98.0395 | 98.5419 | 92.0775 | -5.7758
Annual Average South 30 Beam Radiation Values | W/m2 |  | 43.1739 | 43.6618 | 42.3984 | 42.9849 | 43.0451 | 42.9463 | 42.9497 | 43.6601 | 42.8873 | -0.22708
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 55.6228 | 41.8553 | 56.1531 | 54.7368 | 54.7419 | 55.0735 | 55.0898 | 54.8818 | 49.1902 | -10.1332
Annual Average West 30 Total Radiation Values | W/m2 |  | 79.6842 | 90.1526 | 79.0751 | 78.3627 | 78.4311 | 78.3395 | 78.4604 | 78.7083 | 77.6914 | -0.85656
Annual Average West 30 Beam Radiation Values | W/m2 |  | 28.4535 | 48.2973 | 27.9864 | 28.3571 | 28.4275 | 28.1974 | 28.3027 | 28.6897 | 28.5012 | 0.50829
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 51.2331 | 41.8553 | 51.0888 | 50.0056 | 50.0011 | 50.1422 | 50.1578 | 50.0187 | 49.1902 | -1.6305
WD500 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 25.5528 | 25.5528 | 25.5528 | 25.5528 | 25.5514 | 25.5514 | 25.5515 | 25.5511 | 25.5513 | 25.5512 | -0.0010525
Annual Average Relative Humidity Values | % | 59.7289 | 59.7289 | 59.7297 | 59.7254 | 59.7308 | 59.7314 | 59.7283 | 59.7301 | 59.7318 | 59.7321 | 0.0021852
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.012731 | 0.01273 | 0.012664 | 0.012679 |  | 0.012674 | 0.012823 | 0.012678 | 0.012669 | -0.076134
Annual Average Dew Point Temperature Values | C | 15.5352 | 15.5352 | 15.5352 | 15.5352 | 15.5343 |  | 15.5343 | 15.5653 | 15.5345 | 15.5373 | 0.019214
Annual Average Wet Bulb Temperature Values | C |  | 19.1265 | 19.1242 | 19.0748 | 19.1467 | 19.5968 | 19.1383 | 19.1243 | 19.1472 | 19.1378 | -0.046381
Annual Average Wind Speed Values | m/s | 2.3817 | 2.3817 | 2.4297 | 2.3817 | 2.3816 | 2.3811 | 2.383 | 2.2896 | 2.3815 | 2.3815 | -0.0062298
Annual Average Wind Direction Values | Degrees from North | 200.1526 | 200.1526 | 200.1526 | 158.6328 | 200.1992 | 200.1452 | 200.1508 | 202.5811 | 200.1439 | 200.1427 | -0.028215
Annual Average Station Pressure Values | mbar | 985.7236 | 985.7325 | 985.117 | 985.7236 | 985.7238 | 985.7374 | 985.7235 | 985.66 | 985.7235 | 985.7235 | -2.9915e-05
Annual Average Total Cloud Cover Values | tenths | 3.5233 | 3.5233 | 3.5233 |  | 3.5232 | 3.5233 | 3.5239 | 3.5228 | 3.5234 | 3.5234 | 0.0070528
Annual Average Opaque Cloud Cover Values | tenths | 3.5233 | 3.5233 |  |  | 3.5232 | 3.5233 | 3.5239 |  | 3.5234 | 3.5234 | 0.0070528
Annual Average Sky Temperature Values | C |  | 14.7913 | 14.2975 | 15.157 | 15.1628 | 14.3144 | 15.1407 | 15.1428 | 14.3032 | 15.1835 | 0.13712
Annual Average Total Horizontal Radiation Values | W/m2 | 220.0844 | 219.797 | 216.2859 | 219.9682 | 218.9608 | 218.9888 | 219.0854 | 218.2441 | 220.3289 | 220.0592 | 0.50167
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 141.6584 | 163.2249 | 141.5478 | 140.7588 | 140.7849 | 140.6964 | 139.8922 | 141.9272 | 141.6578 | 0.63867
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 78.4104 | 78.1386 | 53.061 | 78.4204 | 78.202 | 78.2024 | 78.3889 | 78.3518 | 78.4017 | 78.4015 | 0.25508
Annual Average South 90 Total Radiation Values | W/m2 |  | 127.9552 | 122.2269 | 131.0883 | 128.4 | 128.2446 | 130.3739 | 130.2621 | 128.6336 | 121.9895 | -4.9925
Annual Average South 90 Beam Radiation Values | W/m2 |  | 82.5233 | 95.6964 | 84.4284 | 82.5056 | 82.4422 | 84.0207 | 83.7571 | 83.0186 | 82.7888 | 0.3432
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 45.4394 | 26.5305 | 46.6599 | 45.8943 | 45.7997 | 46.3532 | 46.505 | 45.6151 | 39.2007 | -14.5848
Annual Average East 90 Total Radiation Values | W/m2 |  | 105.4377 | 71.2856 | 96.3419 | 96.1674 | 96.0982 | 95.9909 | 96.6242 | 95.2044 | 92.2357 | -4.0885
Annual Average East 90 Beam Radiation Values | W/m2 |  | 61.2685 | 44.7551 | 53.2432 | 53.3481 | 53.3478 | 53.2598 | 53.4336 | 53.0863 | 53.0349 | -0.58698
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 44.1697 | 26.5305 | 43.0987 | 42.8194 | 42.7478 | 42.7312 | 43.1906 | 42.1182 | 39.2007 | -8.4509
Annual Average North 90 Total Radiation Values | W/m2 |  | 35.129 | 30.077 | 33.6723 | 33.0052 | 32.9449 | 32.8753 | 33.2259 | 32.7393 | 41.5367 | 25.849
Annual Average North 90 Beam Radiation Values | W/m2 |  | 2.4751 | 3.5465 | 2.3215 | 2.4399 | 2.4528 | 2.2828 | 2.4465 | 2.2724 | 2.3359 | -4.2623
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 32.6541 | 26.5305 | 31.3508 | 30.5652 | 30.4896 | 30.5925 | 30.7794 | 30.4669 | 39.2007 | 28.2527
Annual Average West 90 Total Radiation Values | W/m2 |  | 88.9878 | 115.691 | 97.8345 | 97.8043 | 97.7342 | 97.544 | 98.1794 | 96.8667 | 93.2681 | -4.638
Annual Average West 90 Beam Radiation Values | W/m2 |  | 46.5095 | 89.1605 | 54.2128 | 54.4098 | 54.4014 | 54.2478 | 54.4042 | 54.1407 | 54.0674 | -0.6293
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 42.4811 | 26.5305 | 43.6217 | 43.3945 | 43.3303 | 43.2962 | 43.7753 | 42.726 | 39.2007 | -9.6643
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 128.7062 | 97.8534 | 123.5733 | 121.9432 | 121.8337 | 122.9172 | 123.2306 | 121.4812 | 115.0845 | -5.6245
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 82.2206 | 71.3229 | 76.9513 | 75.8324 | 75.8066 | 76.616 | 76.5986 | 75.9362 | 75.8837 | 0.067659
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 46.4854 | 26.5305 | 46.622 | 46.1108 | 46.0246 | 46.3012 | 46.632 | 45.545 | 39.2007 | -14.9858
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 116.6915 | 138.026 | 125.5224 | 124.1283 | 124.0099 | 124.9589 | 125.2651 | 123.7128 | 116.6232 | -6.0462
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 71.0805 | 111.4955 | 78.3465 | 77.4225 | 77.3804 | 78.0801 | 78.0498 | 77.5228 | 77.4225 | -2.147e-06
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 45.6058 | 26.5305 | 47.176 | 46.7058 | 46.627 | 46.8789 | 47.2153 | 46.19 | 39.2007 | -16.0689
Annual Average East 30 Total Radiation Values | W/m2 |  | 206.9374 | 178.9185 | 200.4693 | 199.8576 | 199.839 | 199.6279 | 199.3924 | 200.11 | 198.0475 | -0.90569
Annual Average East 30 Beam Radiation Values | W/m2 |  | 130.5336 | 129.4119 | 124.8708 | 124.5552 | 124.5769 | 124.2618 | 123.8345 | 125.0314 | 124.898 | 0.2752
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 76.404 | 49.5066 | 75.5985 | 75.3024 | 75.2594 | 75.3661 | 75.5579 | 75.0785 | 73.1496 | -2.859
Annual Average South 30 Total Radiation Values | W/m2 |  | 243.4293 | 237.0986 | 246.1914 | 244.0714 | 244.0012 | 245.203 | 244.3464 | 245.3552 | 236.0634 | -3.281
Annual Average South 30 Beam Radiation Values | W/m2 |  | 161.9405 | 187.592 | 163.6456 | 161.9716 | 161.9563 | 162.7326 | 161.8422 | 163.2957 | 162.9138 | 0.58168
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 81.4846 | 49.5066 | 82.5458 | 82.0998 | 82.0424 | 82.4704 | 82.5042 | 82.0595 | 73.1496 | -10.9016
Annual Average West 30 Total Radiation Values | W/m2 |  | 194.4014 | 213.9167 | 201.7832 | 201.2193 | 201.2011 | 200.9614 | 200.7162 | 201.5074 | 198.9458 | -1.1299
Annual Average West 30 Beam Radiation Values | W/m2 |  | 119.1675 | 164.4101 | 125.7079 | 125.4099 | 125.4264 | 125.0867 | 124.6339 | 125.8899 | 125.7962 | 0.30805
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 75.2307 | 49.5066 | 76.0753 | 75.8094 | 75.7722 | 75.8747 | 76.0823 | 75.6175 | 73.1496 | -3.5086
WD600 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 10.8787 | 10.8787 | 10.8787 | 10.8787 | 10.8765 | 10.876 | 10.8762 | 10.8756 | 10.8756 | 10.8753 | -0.010524
Annual Average Relative Humidity Values | % | 49.6147 | 49.6147 | 49.582 | 49.5855 | 49.6167 | 49.6179 | 49.6177 | 49.6183 | 49.6182 | 49.6185 | 0.0035777
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0.0049371 | 0.0049732 | 0.0049128 | 0.0049253 |  | 0.0049215 | 0.0049661 | 0.0049252 | 0.0049167 | -0.17421
Annual Average Dew Point Temperature Values | C | -1.064 | -1.064 | -1.064 | -1.0633 | -1.0655 |  | -1.0656 | -0.86319 | -1.066 | -1.06 | -0.51635
Annual Average Wet Bulb Temperature Values | C |  | 4.9213 | 4.9046 | 4.905 | 4.8883 | 5.4504 | 4.9085 | 4.9542 | 4.925 | 4.8748 | -0.27736
Annual Average Wind Speed Values | m/s | 3.917 | 3.917 | 3.9266 | 3.917 | 3.917 | 3.916 | 3.9175 | 3.7677 | 3.9166 | 3.9165 | -0.010808
Annual Average Wind Direction Values | Degrees from North | 179.2556 | 179.2556 | 179.2556 | 157.649 | 174.3587 | 179.2384 | 179.265 | 178.777 | 179.2368 | 179.2352 | 2.7968
Annual Average Station Pressure Values | mbar | 834.6008 | 834.6008 | 830.11 | 834.6008 | 834.6003 | 834.6096 | 834.601 | 835.94 | 834.6012 | 834.6013 | 0.00011831
Annual Average Total Cloud Cover Values | tenths | 5.0893 | 5.0893 | 5.0893 |  | 5.089 | 5.089 | 5.0891 | 5.0889 | 5.089 | 5.0889 | -0.00071868
Annual Average Opaque Cloud Cover Values | tenths | 4.3748 | 4.3748 |  |  | 4.3745 | 4.3745 | 4.375 |  | 4.3745 | 4.3744 | -0.0005253
Annual Average Sky Temperature Values | C |  | -4.147 | -3.9262 | -2.0219 | -2.0164 | -5.1503 | -2.0316 | -1.3101 | -5.0592 | -1.985 | -1.5559
Annual Average Total Horizontal Radiation Values | W/m2 | 190.6862 | 190.6125 | 189.8032 | 190.2955 | 189.9923 | 189.9948 | 189.7144 | 189.1076 | 191.061 | 190.6644 | 0.35375
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 127.1395 | 146.1446 | 126.7727 | 126.6637 | 126.6648 | 126.2455 | 125.6682 | 127.5543 | 127.1164 | 0.35746
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 63.5291 | 63.473 | 43.6587 | 63.5228 | 63.3286 | 63.3324 | 63.4689 | 63.4393 | 63.5067 | 63.5479 | 0.34634
Annual Average South 90 Total Radiation Values | W/m2 |  | 158.4925 | 150.3581 | 158.0148 | 156.4575 | 155.5984 | 158.6409 | 158.3775 | 157.0959 | 146.4669 | -6.3855
Annual Average South 90 Beam Radiation Values | W/m2 |  | 95.6187 | 109.5484 | 96.5124 | 94.9425 | 94.9579 | 96.639 | 96.334 | 95.7897 | 95.6265 | 0.72047
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 62.8767 | 40.8097 | 61.5024 | 61.515 | 60.638 | 62.0019 | 62.0435 | 61.3062 | 50.8404 | -17.3529
Annual Average East 90 Total Radiation Values | W/m2 |  | 121.1813 | 117.2493 | 120.8288 | 121.2536 | 120.3299 | 122.189 | 122.4778 | 121.2231 | 116.0922 | -4.2567
Annual Average East 90 Beam Radiation Values | W/m2 |  | 63.6505 | 76.4396 | 64.1642 | 64.2214 | 64.2386 | 64.9405 | 65.0536 | 64.6043 | 65.2518 | 1.6045
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 57.5329 | 40.8097 | 56.6646 | 57.0322 | 56.0888 | 57.2485 | 57.4243 | 56.6188 | 50.8404 | -10.8566
Annual Average North 90 Total Radiation Values | W/m2 |  | 51.7816 | 45.5574 | 49.7567 | 50.0278 | 49.3329 | 50.2771 | 50.4436 | 49.9983 | 54.6514 | 9.242
Annual Average North 90 Beam Radiation Values | W/m2 |  | 3.8335 | 4.7477 | 3.6188 | 3.9341 | 3.9313 | 3.9784 | 4.1592 | 3.8613 | 3.811 | -3.1296
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 47.9473 | 40.8097 | 46.1379 | 46.0937 | 45.3991 | 46.2987 | 46.2844 | 46.137 | 50.8404 | 10.2979
Annual Average West 90 Total Radiation Values | W/m2 |  | 113.9266 | 103.1018 | 110.0137 | 110.4217 | 109.7365 | 111.363 | 111.6636 | 110.5397 | 104.9992 | -4.9107
Annual Average West 90 Beam Radiation Values | W/m2 |  | 55.5527 | 62.2921 | 53.45 | 53.7699 | 53.771 | 54.4726 | 54.6179 | 54.2335 | 54.1588 | 0.72331
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 58.3744 | 40.8097 | 56.5637 | 56.6518 | 55.9632 | 56.8904 | 57.0457 | 56.3062 | 50.8404 | -10.2581
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 151.5251 | 147.3204 | 152.65 | 151.9845 | 151.0414 | 153.7368 | 153.6964 | 152.3168 | 142.8738 | -5.9945
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 89.9951 | 106.5108 | 91.8827 | 90.9617 | 90.9772 | 92.3471 | 92.1819 | 91.657 | 92.0334 | 1.1782
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 61.5248 | 40.8097 | 60.7673 | 61.0229 | 60.0617 | 61.3897 | 61.5146 | 60.6597 | 50.8404 | -16.6863
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 147.792 | 136.228 | 144.2557 | 143.791 | 143.025 | 145.4368 | 145.4614 | 144.1883 | 134.0913 | -6.7457
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 85.213 | 95.4183 | 83.4825 | 82.9359 | 82.9447 | 84.208 | 84.1245 | 83.6685 | 83.2509 | 0.3798
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 62.5803 | 40.8097 | 60.7731 | 60.8552 | 60.0778 | 61.2288 | 61.3369 | 60.5198 | 50.8404 | -16.4567
Annual Average East 30 Total Radiation Values | W/m2 |  | 184.5981 | 183.1825 | 184.7378 | 185.0767 | 184.5614 | 185.1992 | 184.9771 | 185.6877 | 182.7724 | -1.2451
Annual Average East 30 Beam Radiation Values | W/m2 |  | 119.6314 | 139.9055 | 120.102 | 120.2916 | 120.3027 | 120.2297 | 119.8767 | 121.0107 | 120.927 | 0.52824
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 64.9686 | 43.277 | 64.6357 | 64.7852 | 64.2563 | 64.9694 | 65.1004 | 64.677 | 61.8455 | -4.5377
Annual Average South 30 Total Radiation Values | W/m2 |  | 228.2379 | 222.6775 | 227.6447 | 226.6233 | 226.1426 | 227.4802 | 226.8676 | 227.7563 | 218.1181 | -3.753
Annual Average South 30 Beam Radiation Values | W/m2 |  | 156.4144 | 179.4005 | 156.4826 | 155.496 | 155.5041 | 156.021 | 155.3355 | 156.7116 | 156.2726 | 0.49946
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 71.8196 | 43.277 | 71.1621 | 71.1273 | 70.6359 | 71.4593 | 71.5322 | 71.0446 | 61.8455 | -13.0497
Annual Average West 30 Total Radiation Values | W/m2 |  | 178.1265 | 170.7053 | 174.8243 | 175.2133 | 174.899 | 175.2899 | 175.1025 | 175.7864 | 172.7082 | -1.4297
Annual Average West 30 Beam Radiation Values | W/m2 |  | 112.2869 | 127.4283 | 110.2348 | 110.7021 | 110.6976 | 110.5715 | 110.2742 | 111.3606 | 110.8628 | 0.14515
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 65.839 | 43.277 | 64.5895 | 64.5113 | 64.1988 | 64.7184 | 64.8283 | 64.4257 | 61.8455 | -4.1323
WD600-WD100 |  | Actual | BSIMAC | CSE | DeST | EnergyPlus | ESP-r | IBPSA | IDA ICE | TRNSYS | OpenSimula | Error (%)
Annual Average Dry Bulb Temperature Values | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Relative Humidity Values | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Humidity Ratio Values | kg moisture/kg dry air |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | #DIV/0!
Annual Average Dew Point Temperature Values | C | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | #DIV/0!
Annual Average Wet Bulb Temperature Values | C |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Wind Speed Values | m/s | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Wind Direction Values | Degrees from North | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Station Pressure Values | mbar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Total Cloud Cover Values | tenths | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Opaque Cloud Cover Values | tenths | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Sky Temperature Values | C |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Total Horizontal Radiation Values | W/m2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Horizontal Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average Diffuse Horizontal Radiation Values | W/m2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Annual Average South 90 Total Radiation Values | W/m2 |  | 19.0685 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average South 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0018197 | 0 |  | 0 | 0 | #DIV/0!
Annual Average South 90 Diffuse Radiation Values | W/m2 |  | 19.0769 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average East 90 Total Radiation Values | W/m2 |  | 19.0725 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average East 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0011553 | 0 |  | 0 | 0 | #DIV/0!
Annual Average East 90 Diffuse Radiation Values | W/m2 |  | 19.074 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average North 90 Total Radiation Values | W/m2 |  | 19.0789 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average North 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.00041894 | 0 |  | 0 | 0 | #DIV/0!
Annual Average North 90 Diffuse Radiation Values | W/m2 |  | 19.0768 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average West 90 Total Radiation Values | W/m2 |  | 19.0803 | 18.9803 | 19.0686 | 18.9992 | 18.9992 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average West 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0011712 | 0 |  | 0 | 0 | #DIV/0!
Annual Average West 90 Diffuse Radiation Values | W/m2 |  | 19.0773 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average 45 East 90 Total Radiation Values | W/m2 |  | 19.0719 | 18.9803 | 19.0686 | 18.9992 | 18.9993 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average 45 East 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0014532 | 0 |  | 0 | 0 | #DIV/0!
Annual Average 45 East 90 Diffuse Radiation Values | W/m2 |  | 19.0695 | 18.9803 | 19.0686 | 18.9992 | 18.9967 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average 45 West 90 Total Radiation Values | W/m2 |  | 19.0751 | 18.9803 | 19.0686 | 18.9992 | 18.9993 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average 45 West 90 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0015365 | 0 |  | 0 | 0 | #DIV/0!
Annual Average 45 West 90 Diffuse Radiation Values | W/m2 |  | 19.0732 | 18.9803 | 19.0686 | 18.9992 | 18.9966 | 19.0685 |  | 19.1061 | 19.0664 | 0.35407
Annual Average East 30 Total Radiation Values | W/m2 |  | 2.5567 | 2.5429 | 2.5549 | 2.5287 | 2.5286 | 2.5547 |  | 2.5597 | 2.5544 | 1.0183
Annual Average East 30 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0018642 | 0 |  | 0 | 0 | #DIV/0!
Annual Average East 30 Diffuse Radiation Values | W/m2 |  | 2.5525 | 2.5429 | 2.5549 | 2.5287 | 2.5261 | 2.5547 |  | 2.5597 | 2.5544 | 1.0183
Annual Average South 30 Total Radiation Values | W/m2 |  | 2.5586 | 2.5429 | 2.5549 | 2.5287 | 2.5286 | 2.5547 |  | 2.5597 | 2.5544 | 1.0183
Annual Average South 30 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.0021508 | 0 |  | 0 | 0 | #DIV/0!
Annual Average South 30 Diffuse Radiation Values | W/m2 |  | 2.5543 | 2.5429 | 2.5549 | 2.5287 | 2.5261 | 2.5547 |  | 2.5597 | 2.5544 | 1.0183
Annual Average West 30 Total Radiation Values | W/m2 |  | 2.5561 | 2.5429 | 2.5549 | 2.5287 | 2.5287 | 2.5547 |  | 2.5597 | 2.5544 | 1.0183
Annual Average West 30 Beam Radiation Values | W/m2 |  | 0 | 0 | 0 | 0 | -0.001814 | 0 |  | 0 | 0 | #DIV/0!
Annual Average West 30 Diffuse Radiation Values | W/m2 |  | 2.5593 | 2.5429 | 2.5549 | 2.5287 | 2.5261 | 2.5547 |  | 2.5597 | 2.5544 | 1.0183